## Standard Footnotes
Standard Footnotes
#
sym | footnote
a | HT = tritiated hydrogen gas
b | HTO = tritiated water and water vapor
c | DCS = Derived Concentration Standard. These quantities represent the concentration of a given radionuclide in either water or air that results in a member of the public receiving 1 millisievert (mSv) [100 millirem (mrem)] effective dose following continuous exposure for one year for each of the following pathways: ingestion of water, submersion in air, and inhalation. DCS is not applicable to isotopic ratios
d | MDC = minimum detectable concentration
e | See Figures 4-1, 4-2, and 4-3 for maps of sampling locations.
f | See Figures 5-1, 5-2, 5-3, 5-4, 5-5, and 5-6 for maps of sampling locations.
g | See Figures 6-1, 6-2, and 6-3 for maps of sampling locations.
h | Weekend and holiday daily flow totals are shown in the shaded areas. The daily sample flow volume is for the 24 hours of the sampling day.
i | Ending date of composite period
j | Analysis not required.
k | No sample taken
l | Analysis was not conducted for that sampling event.
m | Different sample dates occur when samples could not be collected on scheduled sampling date due to access, weather conditions, sampler malfunction, or power (GFI) is out
n | Note: Radioactivities are reported as the measured concentration and an uncertainty (± 2-sigma counting error), or as being less than or equal to the detection limit.
o | Thorium-232 activities can be determined by multiplying the mass concentration provided in the table in μg/dry g by the specific activity of thorium-232, i.e., 0.004044 Bq/μg or 0.1093 pCi/μg.
p | Uranium-235 activities can be determined by multiplying the mass concentration provided in the table in μg/dry g by the specific activity of uranium-235, i.e., 0.080 Bq/μg or 2.16 pCi/μg.
q | Uranium-238 activities can be determined by multiplying the mass concentration provided in the table in μg/dry g by the specific activity of uranium-238, i.e., 0.01245 Bq/μg or 0.3367 pCi/μg.
r | Nondetections of radioactive constituents are equal to or are less than the 2-sigma uncertainty shown. A negative number means the sample radioactivity was less than the background radioactivity inside the measurement apparatus. The result is zero when the measured sample radioactivity is equal to the measured background radioactivity.
s | If the concentration is less than or equal to the uncertainty or the detection limit, the result is considered to be a nondetection.
t | Constituent nondetections are shown as less than (<) the reporting limit for that analysis.
u | Note: The activities shown in this table are measured concentrations and their associated 2-sigma counting errors. Mininum detectable concentration (MDC) is shown in parentheses when calculated concentration is less than the MDC.
v | Median not calculated because of the small number of samples.
w | Interquartile range not calculated because of the small number of samples.
x | Not applicable because there are no detections.
y | Investigative sampling indicated that detections are primarily tritium exchange (adsorption of tritium in HT and/ or HTO onto the filter).
z | Deririved Concentration Standard for tritium in air is 7.8E+06 mBq/m3. Percent of DCS is calculated from the median concentraton.
aa | Not calculated when the median is a negative number
bb | HMX is octahydro-1,3,5,7-tetranitro-1,3,5,7-tetrazocine.
cc | RDX is hexahydro-1,3,5-trinitro-1,3,5-triazine.
dd | mSv represents 1 x 10-3 Seivert (Sv) where 1 Sv = 100 x 10-3 rem
ee | The associated annual error is calculated as twice the rms location error.
ff | Data not available due to missing or damaged TLD.
gg | When TLD data is missing, the annual dose is calculated as four times the average of available quarterly data.
hh | Measurement Error represents 2 sigma counting error of the TLD elements of CaSO4: Tm
ii | Medians were not calculated as all results were nondetections
jj | Investigative sampling indicated that detections are primarily tritium exchange (adsorption of tritium in HT and/ or HTO onto the filter).
kk | ACL = the Ambient Concentration Limit for Beryllium at 10,000 picograms per cubic meter per month

## A.5.1 Liv Site Metals
A.5.1 Livermore Site metals surveillance wells, 2020
Type | Constituents of concern | W-307 | W-226 | W-306
|  | May 27 | May 28 | May 28
Inorganic | Field pH (pH units) | 7.11 | 7.42 | 7.40
| Field Conductivity (μS/cm) | 1080 | 960 | 830
| Water temperature (Degrees C) | 26.7 | 19.5 | 19.4
Metals (μg/L)(t) | Aluminum | <50 | <50 | <50
| Antimony | <5 | <5 | <5
| Arsenic | <2 | <2 | <2
| Barium | 270 | 210 | 88
| Beryllium | <0.2 | <0.2 | <0.2
| Boron | 610 | 560 | 950
| Cadmium | <0.5 | <0.5 | <0.5
| Chromium | 17 | 22 | 5
| Chromium(VI) | 13 | 19 | <2
| Cobalt | <50 | <50 | <50
| Copper | <1 | <1 | <1
| Iron | <100 | <100 | <100
| Lead | <5 | <5 | <5
| Manganese | <30 | <30 | <30
| Mercury | <0.2 | <0.2 | <0.2
| Molybdenum | <25 | <25 | <25
| Nickel | 2 | <2 | 5
| Selenium | <2 | <2 | <2
| Silver | <1 | <1 | <1
| Thallium | <1 | <1 | <1
| Vanadium | <20 | <20 | <20
| Zinc | <20 | <20 | <20
See the first tab for a description of standard footnotes

## A.5.2 Liv Site B514 and 612 Are
A.5.2 Livermore Site Buildings 514 and 612 area surveillance wells, 2020
Type | Constituents of concern | W-270 | GSW-011 | W-359(k)
|  | May 27 | May 28
Inorganic | Field pH (pH units) | 7.71 | 7.60 | -
| Field Conductivity (μS/cm) | 744 | 758 | -
| Water temperature (Degrees C) | 22.0 | 21.2 | -
Radioactive (Bq/L)(r) | Gross alpha | 0.078 ± 0.036 | 0.073 ± 0.050 | -
| Gross beta | 0.094 ± 0.027 | 0.097 ± 0.036 | -
| Tritium | -0.2 ± 2.7 | 3.8 ± 3.2 | -
See the first tab for a description of standard footnotes

## A.5.3 Liv Site DWTF Wells
A.5.3 Livermore Site near Decontamination and Waste Treatment Facility (DWTF) surveillance wells, 2020
Type | Constituents of concern | W-593 | W-594
|  | Jun 24 | May 27
Inorganic | Field pH (pH units) | 7.17 | 7.86
| Field Conductivity (μS/cm) | 2120 | 1910
| Water temperature (Degrees C) | 23.0 | 20.8
Radioactive (Bq/L)(r) | Tritium | -1.4 ± 2.8 | 4.6 ± 3.1
See the first tab for a description of standard footnotes

## A.5.4 Liv Site E Traf Cir Wells
A.5.4 Livermore Site East Traffic Circle Landfill surveillance wells, 2020
Type | Constituents of concern | W-119 | W-1207 | W-1303 | W-1308 | W-1306(k)
|  | Jan 8 | Jan 8 | Jan 8 | Feb 3
Inorganic | Field pH (pH units) | 7.77 | 7.37 | 7.02 | 7.72 | -
| Field Conductivity (μS/cm) | 1090 | 1340 | 1150 | 1090 | -
| Water temperature (Degrees C) | 14.8 | 17.4 | 15.0 | 17.8 | -
Metals (μg/L)(t) | Copper | <10 | <10 | <10 | <10 | -
| Lead | <50 | <50 | <50 | <50 | -
| Zinc | <20 | <20 | 110 | <20 | -
Radioactive (Bq/L)(r) | Tritium | -0.4 ± 2.9 | 1.5 ± 3.1 | 2.5 ± 3.1 | 4.7 ± 3.1 | -
See the first tab for a description of standard footnotes

## A.5.5 Liv Site H3 Facility Area
A.5.5 Livermore Site Tritium Facility surveillance wells, 2020
Area | Location | Screened in HSU | Sampling date | Tritium (Bq/L)(r)
Upgradient of Tritium Facility | W-305(k) | 2 | - | -
Downgradient of Tritium Facility | W-147 | 1B | Feb 25 | 4.6 ± 3.2
| W-147 | 1B | May 27 | 3.7 ± 3.1
| W-148 | 1B | May 27 | 19.0 ± 5.4
| W-148 | 1B | Oct 15 | 16.0 ± 4.3
See the first tab for a description of standard footnotes

## A.5.6 Liv Site Perimtr Offsite
A.5.6 Livermore Site perimeter off-site surveillance wells, 2020
Type | Constituents of concern | 14B1 | W-121 | W-151 | W-571
|  | Mar 11 | Jan 27 | Jan 27 | Jan 28
Inorganic | Field pH (pH units) | 7.52 | 7.73 | 7.40 | 7.41
| Field Conductivity (μS/cm) | 1040 | 838 | 1060 | 1040
| Water temperature (Degrees C) | 12.4 | 16.6 | 16.6 | 18.6
General minerals (mg/L)(t) | Bromide | <0.5 | <0.5 | <0.5 | <0.5
| Chloride | 120 | 96 | 120 | 100
| Fluoride | 0.2 | 0.3 | 0.2 | 0.3
| Nitrate | 45 | 35 | 47 | 32
| Ortho-Phosphate | 0.3 | 0.2 | 0.2 | 0.1
| Sulfate | 42 | 41 | 46 | 35
Radioactive (Bq/L)(r) | Gross alpha | -0.012 ± 0.043 | 0.078 ± 0.036 | 0.002 ± 0.041 | 0.150 ± 0.055
| Gross beta | 0.100 ± 0.035 | 0.070 ± 0.029 | 0.065 ± 0.029 | 0.160 ± 0.042
| Tritium | 0.8 ± 2.8 | 1.2 ± 2.6 | 1.8 ± 2.8 | 2.4 ± 2.6
See the first tab for a description of standard footnotes

## A.5.7 Liv Site Perimtr Onsite W
A.5.7 Livermore Site perimeter on-site surveillance wells, 2020
Type | Constituents of concern | W-1012 | W-556 | W-373
|  | Feb 19 | Feb 18 | Feb 12
Inorganic | Field pH (pH units) | 7.66 | 7.69 | 7.74
| Field Conductivity (μS/cm) | 1020 | 1100 | 1000
| Water temperature (Degrees C) | 12.2 | 19.2 | 16.7
Metals (μg/L) | Chromium(VI) | 9 | 26 | 17
General minerals (mg/L)(t) | Bromide | <0.5 | <0.5 | <0.5
| Chloride | 82 | 180 | 160
| Fluoride | 0.1 | 0.2 | 0.4
| Nitrate | 20 | 40 | 15
| Ortho-Phosphate | 0.1 | 0.1 | 0.1
| Sulfate | 40 | 39 | 50
Radioactive (Bq/L)(r) | Gross alpha | 0.17 ± 0.10 | 0.06 ± 0.10 | 0.190 ± 0.066
| Gross beta | 0.150 ± 0.045 | 0.073 ± 0.043 | 0.180 ± 0.049
| Tritium | 1.9 ± 2.7 | 0.8 ± 2.5 | 1.8 ± 2.5
See the first tab for a description of standard footnotes

## A.5.8 Liv Site NIF Area Wells
A.5.8 Livermore Site near the National Ignition Facility (NIF) surveillance wells, 2020
Type | Constituents of concern | W-1207 | W-653(k)
Jan 8
Inorganic | Field pH (pH units) | 7.37 | -
| Field Conductivity (μS/cm) | 1340 | -
| Water temperature (Degrees C) | 17.4 | -
Metals (μg/L)(t) | Copper | <10 | -
| Lead | <50 | -
| Zinc | <20 | -
Radioactive (Bq/L)(r) | Tritium | 1.5 ± 3.1 | -
See the first tab for a description of standard footnotes

## A.5.9 Liv Site taxi Strip Area
A.5.9 Livermore Site Taxi Strip surveillance wells, 2020
Type | Constituents of concern | W-204 | W-363
|  | Jan 7 | Jan 7
Inorganic | Field pH (pH units) | 7.85 | 7.84
| Field Conductivity (μS/cm) | 598 | 556
| Water temperature (Degrees C) | 16.9 | 18.6
Metals (μg/L)(t) | Copper | <10 | <10
| Lead | <50 | <50
| Zinc | <20 | <20
Radioactive (Bq/L)(r) | Tritium | 10.0 ± 3.8 | 19.0 ± 5.1
See the first tab for a description of standard footnotes

## A.5.10 Liv Site Background Well
A.5.10 Livermore Site background surveillance wells, 2020
Type | Constituents of concern | W-008 | W-221 | W-017
|  | Jan 28 | Feb 12 | Jan 7
Inorganic | Field pH (pH units) | 7.20 | 7.57 | 7.75
| Field Conductivity (μS/cm) | 2610 | 1530 | 948
| Water temperature (Degrees C) | 18.8 | 18.3 | 16.0
General minerals (mg/L)(t) | Bromide | 1.5 | <1 | 0.5
| Chloride | 520 | 290 | 190
| Fluoride | 1.3 | 0.5 | 0.3
| Nitrate | 26 | 49 | 9
| Ortho-Phosphate | 0.1 | <0.05 | 0.2
| Sulfate | 320 | 120 | 12
Radioactive (Bq/L)(r) | Gross alpha | 0.28 ± 0.14 | 0.25 ± 0.12 | 0.160 ± 0.054
| Gross beta | 0.30 ± 0.11 | 0.240 ± 0.093 | 0.057 ± 0.020
| Tritium | 1.6 ± 2.7 | 17.0 ± 4.8 | -0.3 ± 2.5
See the first tab for a description of standard footnotes

## A.5.11 Liv Val Tritium Wells
A.5.11 Tritium activity in Livermore Valley wells, 2020
Location | Date | Tritium (Bq/L)(r)
11B1 | Sep 16 | 2.1 ± 2.7
12G1 | Sep 16 | 1.2 ± 2.7
17D12 | Jul 7 | 1.0 ± 2.8
9M3 | Jul 8 | 0.6 ± 2.8
16A2 | Aug 18 | 0.6 ± 2.9
9B1 | Jul 7 | 0.5 ± 2.7
12D2 | Sep 16 | -0.1 ± 2.7
1H3 | Sep 16 | -0.3 ± 2.7
16L5 | Aug 18 | -0.5 ± 2.8
7C2 | Sep 16 | -0.6 ± 2.7
12A2 | Sep 16 | -0.9 ± 2.4
2R1 | Sep 16 | -1.3 ± 2.6
8H18 | Jul 8 | -1.4 ± 2.8
8F1(k)
9Q1(k)
See the first tab for a description of standard footnotes