## Standard Footnotes
Standard Footnotes
#
sym | footnote
a | HT = tritiated hydrogen gas
b | HTO = tritiated water and water vapor
c | DCS = Derived Concentration Standard. These quantities represent the concentration of a given radionuclide in either water or air that results in a member of the public receiving 1 millisievert (mSv) [100 millirem (mrem)] effective dose following continuous exposure for one year for each of the following pathways: ingestion of water, submersion in air, and inhalation. DCS is not applicable to isotopic ratios
d | MDC = minimum detectable concentration
e | See Figures 4-1, 4-2, and 4-3 for maps of sampling locations.
f | See Figures 5-1 through 5-8 for maps of sampling locations.
g | See Figures 6-1, 6-2, and 6-3 for maps of sampling locations.
h | Weekend and holiday daily flow totals are shown in the shaded areas. The daily sample flow volume is for the 24 hours of the sampling day.
i | Ending date of composite period
j | Analysis not required.
k | No sample taken
l | Analysis was not conducted for that sampling event.
m | Different sample dates occur when samples could not be collected on scheduled sampling date due to access, weather conditions, sampler malfunction, or power (GFI) is out
n | Note: Radioactivities are reported as the measured concentration and an uncertainty (± 2-sigma counting error), or as being less than or equal to the detection limit.
o | Thorium-232 activities can be determined by multiplying the mass concentration provided in the table in μg/dry g by the specific activity of thorium-232, i.e., 0.004044 Bq/μg or 0.1093 pCi/μg.
p | Uranium-235 activities can be determined by multiplying the mass concentration provided in the table in μg/dry g by the specific activity of uranium-235, i.e., 0.080 Bq/μg or 2.16 pCi/μg.
q | Uranium-238 activities can be determined by multiplying the mass concentration provided in the table in μg/dry g by the specific activity of uranium-238, i.e., 0.01245 Bq/μg or 0.3367 pCi/μg.
r | Nondetections of radioactive constituents are equal to or are less than the 2-sigma uncertainty shown. A negative number means the sample radioactivity was less than the background radioactivity inside the measurement apparatus. The result is zero when the measured sample radioactivity is equal to the measured background radioactivity.
s | If the concentration is less than or equal to the uncertainty or the detection limit, the result is considered to be a nondetection.
t | Constituent nondetections are shown as less than (<) the reporting limit for that analysis.
u | Note: The activities shown in this table are measured concentrations and their associated 2-sigma counting errors. Mininum detectable concentration (MDC) is shown in parentheses when calculated concentration is less than the MDC.
v | Median not calculated because of the small number of samples.
w | Interquartile range not calculated because of the small number of samples.
x | Not applicable because there are no detections.
y | Investigative sampling indicated that detections are primarily tritium exchange (adsorption of tritium in HT and/ or HTO onto the filter).
z | Deririved Concentration Standard for tritium in air is 7.8E+06 mBq/m3. Percent of DCS is calculated from the median concentraton.
aa | Not calculated when the median is a negative number
bb | See Appendix B for EPA Methods 502.2, 624 and 625 constituents and their RLs.
cc | HMX is octahydro-1,3,5,7-tetranitro-1,3,5,7-tetrazocine.
dd | RDX is hexahydro-1,3,5-trinitro-1,3,5-triazine.
ee | See Environmental Report 2011, Appendix B for EPA method 601 constituents and its RLs.
ff | mSv represents 1 x 10-3 Seivert (Sv) where 1 Sv = 100 x 10-3 rem
gg | The associated annual error is calculated as twice the rms location error.
hh | Data not available due to missing or damaged TLD.
ii | When TLD data is missing, the annual dose is calculated as four times the average of available quarterly data.
jj | Measurement Error represents 2 sigma counting error of the TLD elements of CaSO4: Tm
kk | Medians were not calculated as all results were nondetections
ll | Investigative sampling indicated that detections are primarily tritium exchange (adsorption of tritium in HT and/ or HTO onto the filter).
mm | ACL = the Ambient Concentration Limit for Beryllium at 10,000 picograms per cubic meter per month

## A.2.1 Liv Site GAB
A.2.1(a) Bi-weekly gross alpha concentrations (µBq/m3) from air particulate samples from the Livermore perimeter locations, 2022 (e) (n) (r)
Date | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha
| CAFE | COW | CRED | MESQ | MET | SALV | VIS
Jan 4 | 32.8 ± 35.2 | 22.2 ± 31.6 | 7.0 ± 26.6 | 22.4 ± 31.9 | 7.0 ± 26.4 | 17.2 ± 30.0 | 32.8 ± 35.2
Jan 18 | 12.8 ± 29.9 | 29.1 ± 35.4 | 2.0 ± 26.1 | 29.1 ± 35.4 | 18.2 ± 31.8 | 29.1 ± 35.4 | 12.4 ± 29.0
Feb 1 | 23.9 ± 34.1 | 40.7 ± 39.2 | 7.5 ± 28.5 | 15.3 ± 35.8 | 18.4 ± 32.2 | 35.0 ± 37.4 | 24.1 ± 34.3
Feb 15 | 40.3 ± 38.8 | 34.7 ± 37.4 | 23.9 ± 34.0 | 7.4 ± 28.1 | 34.8 ± 37.4 | 18.4 ± 32.1 | 7.4 ± 28.2
Mar 1 | 23.9 ± 34.0 | 7.5 ± 28.2 | 12.8 ± 29.9 | 2.0 ± 26.2 | 12.8 ± 30.1 | 12.9 ± 30.2 | 34.4 ± 36.9
Mar 15 | 35.0 ± 37.7 | -3.5 ± 23.7 | 7.5 ± 28.5 | (k) | 13.0 ± 30.3 | 18.5 ± 32.3 | 29.6 ± 36.1
Mar 29 | 2.0 ± 26.0 | 13.0 ± 30.3 | -3.5 ± 23.4 | -3.5 ± 23.6 | -14.4 ± 17.8 | -3.5 ± 23.6 | -3.5 ± 23.3
Apr 12 | 8.2 ± 23.3 | -8.3 ± 13.5 | -2.8 ± 17.5 | 24.8 ± 30.2 | 8.3 ± 23.5 | 41.4 ± 35.7 | -8.3 ± 13.5
Apr 26 | 13.7 ± 25.8 | -2.7 ± 17.3 | 13.5 ± 25.4 | 30.2 ± 32.0 | -2.7 ± 17.4 | 13.7 ± 25.8 | 18.9 ± 27.6
May 10 | 2.7 ± 20.2 | -2.7 ± 17.1 | 2.8 ± 20.6 | -2.7 ± 17.1 | 13.5 ± 25.4 | 2.7 ± 20.3 | 8.2 ± 23.3
May 24 | 13.7 ± 25.6 | -2.7 ± 17.3 | 2.7 ± 20.5 | 2.7 ± 20.5 | 8.2 ± 23.2 | -8.2 ± 13.4 | 19.1 ± 27.9
Jun 7 | 46.6 ± 37.0 | 8.2 ± 23.2 | 2.7 ± 20.3 | 19.1 ± 27.9 | 41.1 ± 35.6 | 19.2 ± 27.9 | -2.7 ± 17.1
Jun 22 | 2.5 ± 19.1 | 7.7 ± 21.7 | 23.2 ± 28.2 | 28.0 ± 29.7 | 17.9 ± 26.0 | -2.5 ± 16.2 | 23.1 ± 28.2
Jul 5 | 8.8 ± 25.0 | 8.9 ± 25.2 | 8.8 ± 24.8 | 8.9 ± 25.2 | 20.7 ± 30.2 | 26.8 ± 32.5 | 14.6 ± 27.3
Jul 20 | 2.0 ± 19.1 | 1.9 ± 19.1 | 22.3 ± 28.0 | 12.0 ± 23.7 | 2.1 ± 20.8 | 12.0 ± 23.7 | 2.0 ± 19.3
Aug 2 | 14.1 ± 28.0 | 8.2 ± 25.5 | (m) | 37.7 ± 36.8 | 8.2 ± 25.5 | 31.9 ± 34.8 | (m)
Aug 3 | (m) | (m) | 23.8 ± 29.9 | (m) | (m) | (m) | 23.8 ± 29.9
Aug 16 | 23.1 ± 29.1 | 23.1 ± 29.1 | 30.7 ± 33.4 | 38.8 ± 34.4 | 7.3 ± 22.6 | (m) | 30.7 ± 33.4
Aug 17 | (m) | (m) | (m) | (m) | (m) | 7.0 ± 21.5 | (m)
Aug 30 | 24.0 ± 30.2 | 24.2 ± 30.4 | 107.0 ± 52.2 | 51.4 ± 38.8 | 13.1 ± 26.0 | 43.3 ± 38.1 | 13.1 ± 26.0
Sep 13 | (m) | 23.3 ± 29.3 | 39.2 ± 34.6 | (m) | 18.0 ± 27.3 | (m) | 39.2 ± 34.6
Sep 14 | 42.2 ± 34.3 | (m) | (m) | 27.2 ± 29.6 | (m) | 27.0 ± 29.5 | (m)
Sep 27 | 25.2 ± 31.7 | -3.3 ± 17.6 | 23.8 ± 29.9 | 8.0 ± 24.6 | 34.8 ± 33.7 | 19.9 ± 30.2 | 40.0 ± 35.3
Oct 10 | 55.1 ± 41.8 | 61.0 ± 43.3 | 72.9 ± 46.6 | 43.7 ± 38.5 | 84.4 ± 49.2 | 125.0 ± 58.1 | 37.7 ± 36.4
Oct 25 | 67.0 ± 40.7 | 62.2 ± 39.6 | 61.8 ± 39.6 | 36.9 ± 32.6 | 32.7 ± 31.7 | 87.0 ± 45.5 | 51.8 ± 36.9
Nov 8 | 29.4 ± 32.0 | 29.3 ± 31.9 | (k) | 13.0 ± 25.8 | 34.9 ± 33.8 | 61.8 ± 41.4 | 7.5 ± 23.2
Nov 22 | 18.2 ± 27.6 | 28.9 ± 31.5 | (k) | 23.6 ± 29.7 | 39.6 ± 35.0 | (k) | 18.2 ± 27.7
Dec 6 | 18.5 ± 28.0 | 29.4 ± 32.0 | (k) | 56.6 ± 40.3 | 51.1 ± 38.5 | 19.9 ± 17.6 | 18.4 ± 27.9
Dec 20 | (k) | 18.2 ± 27.6 | (k) | 23.7 ± 29.7 | 28.9 ± 31.5 | 45.1 ± 36.6 | 18.1 ± 27.5
Detection frequency | 5 of 25 | 3 of 26 | 4 of 22 | 6 of 25 | 7 of 26 | 7 of 25 | 4 of 26
Median | 23.1 | 15.6 | 13.2 | 23.6 | 18.0 | 19.9 | 18.6
Interquartile Range | 20.0 | 25.7 | 20.0 | 21.3 | 26.0 | 22.1 | 21.1
Maximum | 67.0 | 62.2 | 107 | 56.6 | 84.4 | 125 | 51.8
A.2.1(b) Bi-weekly gross beta concentrations (µBq/m3) from air particulate samples from the Livermore perimeter locations, 2022 (e) (n)
Date | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta
| CAFE | COW | CRED | MESQ | MET | SALV | VIS
Jan 4 | 276.0 ± 75.8 | 129.0 ± 60.7 | 209.0 ± 69.6 | 210.0 ± 69.6 | 204.0 ± 68.4 | 169.0 ± 65.1 | 200.0 ± 68.8
Jan 18 | 407.0 ± 89.2 | 330.0 ± 82.9 | 322.0 ± 82.9 | 396.0 ± 88.4 | 392.0 ± 88.1 | 312.0 ± 81.8 | 418.0 ± 88.1
Feb 1 | 707 ± 111 | 651 ± 108 | 503.0 ± 97.7 | 577 ± 114 | 610 ± 105 | 629 ± 106 | 740 ± 114
Feb 15 | 655 ± 107 | 566 ± 101 | 518.0 ± 98.0 | 496.0 ± 96.2 | 507.0 ± 97.3 | 644 ± 107 | 784 ± 116
Mar 1 | 361.0 ± 86.2 | 296.0 ± 80.7 | 246.0 ± 75.5 | 276.0 ± 79.2 | 286.0 ± 79.2 | 245.0 ± 75.8 | 307.0 ± 81.0
Mar 15 | 338.0 ± 84.7 | 308.0 ± 81.8 | 242.0 ± 76.2 | (k) | 239.0 ± 75.5 | 295.0 ± 80.7 | 325.0 ± 83.6
Mar 29 | 197.0 ± 71.4 | 154.0 ± 67.0 | 136.0 ± 64.4 | 102.0 ± 61.0 | 184.0 ± 69.9 | 134.0 ± 64.8 | 178.0 ± 68.8
Apr 12 | 201.0 ± 72.1 | 292.0 ± 80.7 | 206.0 ± 72.9 | 193.0 ± 71.4 | 209.0 ± 72.9 | 277.0 ± 79.6 | 278.0 ± 79.2
Apr 26 | 97.3 ± 61.0 | 141.0 ± 65.5 | 113.0 ± 62.2 | 74.7 ± 58.5 | 144.0 ± 65.9 | 79.6 ± 58.8 | 137.0 ± 64.8
May 10 | 152.0 ± 66.2 | 86.6 ± 58.8 | 91.4 ± 60.3 | 121.0 ± 62.5 | 162.0 ± 67.3 | 114.0 ± 62.2 | 112.0 ± 62.5
May 24 | 213.0 ± 72.9 | 211.0 ± 72.5 | 94.4 ± 60.3 | 158.0 ± 67.3 | 154.0 ± 67.0 | 198.0 ± 71.4 | 213.0 ± 72.9
Jun 7 | 165.0 ± 68.4 | 108.0 ± 61.8 | 163.0 ± 67.3 | 89.5 ± 59.9 | 106.0 ± 62.2 | 139.0 ± 65.5 | 195.0 ± 70.7
Jun 22 | 147.0 ± 62.5 | 174.0 ± 65.5 | 87.0 ± 56.6 | 92.5 ± 57.0 | 133.0 ± 61.4 | 144.0 ± 62.5 | 143.0 ± 62.9
Jul 5 | 185.0 ± 74.0 | 109.0 ± 66.2 | 172.0 ± 72.5 | 117.0 ± 67.3 | 150.0 ± 70.7 | 147.0 ± 70.7 | 141.0 ± 68.8
Jul 20 | 144.0 ± 60.7 | 160.0 ± 62.2 | 70.7 ± 52.5 | 77.0 ± 52.5 | 189.0 ± 69.6 | 189.0 ± 65.1 | 135.0 ± 60.3
Aug 2 | 235.0 ± 78.4 | 107.0 ± 64.4 | (m) | 160.0 ± 70.7 | 205.0 ± 75.1 | 148.0 ± 69.2 | (m)
Aug 3 | (m) | (m) | 271.0 ± 77.3 | (m) | (m) | (m) | 204.0 ± 70.7
Aug 16 | 181.0 ± 67.0 | 288.0 ± 77.3 | 278.0 ± 80.3 | 229.0 ± 71.8 | 175.0 ± 66.2 | (m) | 270.0 ± 79.6
Aug 17 | (m) | (m) | (m) | (m) | (m) | 274.0 ± 73.3 | (m)
Aug 30 | 238.0 ± 74.7 | 185.0 ± 69.6 | 223.0 ± 73.6 | 165.0 ± 67.3 | 189.0 ± 69.9 | 165.0 ± 70.7 | 365.0 ± 85.8
Sep 13 | (m) | 429.0 ± 89.5 | 396.0 ± 87.0 | (m) | 500.0 ± 94.7 | (m) | 548.0 ± 98.4
Sep 14 | 555.0 ± 95.8 | (m) | (m) | 374.0 ± 82.5 | (m) | 418.0 ± 85.5 | (m)
Sep 27 | 341.0 ± 86.6 | 299.0 ± 79.6 | 268.0 ± 76.6 | 273.0 ± 79.9 | 276.0 ± 77.7 | 299.0 ± 84.0 | 302.0 ± 79.9
Oct 10 | 433.0 ± 95.8 | 448.0 ± 96.9 | 414.0 ± 94.7 | 485.0 ± 99.9 | 396.0 ± 92.9 | 474.0 ± 99.2 | 540 ± 104
Oct 25 | 655 ± 102 | 459.0 ± 88.4 | 407.0 ± 84.7 | 540.0 ± 94.4 | 462.0 ± 89.9 | 648 ± 102 | 618.0 ± 99.5
Nov 8 | 269.0 ± 77.3 | 243.0 ± 74.7 | (k) | 205.0 ± 71.0 | 212.0 ± 71.8 | 316.0 ± 81.4 | 239.0 ± 74.0
Nov 22 | 681 ± 108 | 529.0 ± 97.7 | (k) | 588 ± 102 | 625 ± 104 | (k) | 644 ± 106
Dec 6 | 533.0 ± 98.8 | 492.0 ± 95.8 | (k) | 507.0 ± 96.9 | 448.0 ± 92.5 | 629.0 ± 70.7 | 518.0 ± 97.7
Dec 20 | (k) | 496.0 ± 95.1 | (k) | 507.0 ± 96.2 | 485.0 ± 94.4 | 462.0 ± 92.5 | 618 ± 104
Detection frequency | 25 of 25 | 26 of 26 | 22 of 22 | 25 of 25 | 26 of 26 | 25 of 25 | 26 of 26
Median | 269 | 290 | 232 | 210 | 210 | 274 | 290
Interquartile Range | 248 | 288 | 168 | 364 | 258 | 270 | 338
Maximum | 707 | 651 | 518 | 588 | 625 | 648 | 784
See the first tab for a description of standard footnotes

## A.2.2 Liv Site perimeter HTO
A.2.2 Tritium concentrations (mBq/m3) in air on the Livermore Site, 2022 (e) (n) (r) (s)
Week | Month | ARAC | CAFE | COW | CRED | DWTF | MESQ | MET | B295 | SALV | SECO | B216 | VIS
1 | Jan | 19.50 ± 9.95 | 51.1 ± 12.2 | 90.3 ± 14.5 | 20.9 ± 11.7 | 53.3 ± 12.4 | 19.6 ± 12.1 | 30.1 ± 10.7 | 45.9 ± 12.2 | 21.00 ± 9.80 | 28.20 ± 9.07 | 69.6 ± 12.9 | 34.8 ± 11.1
3 | Jan | 44.0 ± 11.7 | 46.6 ± 12.4 | 139.0 ± 17.4 | 33.2 ± 12.2 | 38.8 ± 12.1 | 26.7 ± 11.7 | 42.9 ± 11.6 | 58.1 ± 12.9 | 2.96 ± 9.07 | 57.4 ± 12.7 | 64.4 ± 13.1 | 15.7 ± 10.1
5 | Feb | 51.80 ± 9.95 | 50.00 ± 9.51 | 191.0 ± 16.5 | 29.30 ± 9.77 | 43.7 ± 10.1 | 35.30 ± 9.69 | 58.1 ± 10.2 | 72.5 ± 10.8 | 15.50 ± 7.92 | 41.80 ± 9.73 | 88.4 ± 11.9 | 18.40 ± 8.33
7 | Feb | 34.10 ± 9.62 | 39.60 ± 9.62 | 80.3 ± 13.1 | 27.30 ± 9.51 | 40.7 ± 10.9 | 38.8 ± 10.3 | 35.10 ± 9.88 | 76.2 ± 11.8 | 22.30 ± 8.92 | 30.1 ± 10.3 | 78.1 ± 11.9 | 27.90 ± 9.99
9 | Mar | 31.30 ± 8.44 | 38.50 ± 8.88 | 30.00 ± 9.40 | 21.60 ± 8.29 | 34.40 ± 9.36 | 25.90 ± 8.77 | 31.70 ± 8.81 | 42.20 ± 9.32 | 19.60 ± 7.88 | 12.70 ± 8.29 | 40.70 ± 8.55 | 9.10 ± 7.92
11 | Mar | 23.50 ± 8.36 | 21.10 ± 8.40 | 12.70 ± 8.92 | 29.50 ± 9.10 | 26.90 ± 9.40 | (m) | 25.30 ± 8.77 | 29.00 ± 9.10 | (m) | 24.70 ± 8.84 | 18.70 ± 7.84 | 25.90 ± 9.07
13 | Mar | 17.9 ± 10.5 | 5.03 ± 9.92 | 12.8 ± 11.2 | 62.2 ± 13.3 | 68.4 ± 14.5 | 8.0 ± 10.5 | 4.44 ± 9.69 | 28.6 ± 11.5 | 14.7 ± 10.2 | 22.4 ± 10.2 | 24.0 ± 10.2 | 25.7 ± 12.4
15 | Apr | 21.10 ± 9.51 | 71.4 ± 12.4 | 51.8 ± 12.1 | 29.8 ± 10.0 | 49.2 ± 11.8 | 36.4 ± 10.9 | 14.80 ± 9.03 | 74.7 ± 12.7 | 28.10 ± 9.58 | 17.00 ± 8.66 | 59.6 ± 10.8 | 34.0 ± 11.2
17 | Apr | 32.5 ± 11.7 | 21.4 ± 11.2 | 33.7 ± 13.2 | 23.0 ± 11.0 | 88.1 ± 15.9 | 11.8 ± 10.2 | 25.8 ± 10.9 | 40.0 ± 12.8 | 8.07 ± 9.77 | 11.70 ± 9.07 | 9.77 ± 9.66 | 30.4 ± 12.1
19 | May | -2.82 ± 7.81 | 16.7 ± 10.8 | 24.2 ± 11.5 | 12.40 ± 9.55 | 68.1 ± 13.9 | 7.62 ± 9.84 | 0.45 ± 8.14 | 9.10 ± 9.44 | 8.95 ± 9.14 | 0.20 ± 8.14 | -1.65 ± 8.21 | 8.29 ± 8.99
21 | May | 10.60 ± 9.84 | 33.7 ± 12.3 | 32.6 ± 12.9 | 12.0 ± 10.3 | 111.0 ± 17.1 | 20.7 ± 11.0 | 17.9 ± 10.4 | (k) | 14.20 ± 9.66 | 9.51 ± 9.40 | 33.1 ± 11.9 | 20.80 ± 9.36
23 | Jun | 3.4 ± 10.6 | 25.4 ± 13.8 | 10.2 ± 13.0 | 29.9 ± 13.2 | 69.2 ± 17.2 | 12.80 ± 6.84 | 0.7 ± 10.5 | 18.9 ± 13.0 | 14.2 ± 11.3 | 14.7 ± 11.3 | 17.1 ± 12.6 | 30.1 ± 11.5
25 | Jun | 11.7 ± 11.1 | 15.3 ± 12.7 | 41.4 ± 12.2 | 23.1 ± 12.1 | 63.3 ± 16.2 | -0.90 ± 5.36 | 20.8 ± 11.5 | 7.8 ± 12.0 | 8.1 ± 10.4 | 11.0 ± 10.5 | 36.9 ± 13.0 | 15.10 ± 9.95
27 | Jul | 2.2 ± 11.2 | 4.4 ± 12.5 | 16.1 ± 12.7 | 39.2 ± 15.1 | 80.3 ± 16.2 | -2.2 ± 11.2 | 19.3 ± 12.8 | 26.4 ± 15.2 | 8.4 ± 11.7 | -1.2 ± 11.0 | -3.1 ± 12.1 | 87.0 ± 15.8
29 | Jul | 5.7 ± 11.7 | 15.8 ± 14.2 | 13.4 ± 12.2 | 29.9 ± 14.4 | 77.0 ± 16.4 | 14.8 ± 12.8 | 5.9 ± 12.0 | 1.3 ± 13.8 | 4.9 ± 11.1 | 28.0 ± 13.4 | 6.2 ± 11.3 | 28.0 ± 12.2
31 | Aug | 3.6 ± 12.4 | 31.3 ± 14.2 | 18.7 ± 13.8 | 21.0 ± 15.0 | 58.8 ± 16.0 | 11.3 ± 13.1 | 13.7 ± 13.5 | 13.4 ± 14.5 | 12.4 ± 13.0 | 14.5 ± 13.1 | 21.4 ± 14.1 | 11.3 ± 11.9
33 | Aug | 19.4 ± 13.7 | 48.1 ± 15.6 | 174.0 ± 23.6 | 36.2 ± 16.3 | 93.6 ± 18.3 | 17.9 ± 13.6 | 24.5 ± 14.7 | 43.7 ± 14.7 | 3.9 ± 12.2 | 13.3 ± 13.1 | 9.6 ± 13.0 | 38.8 ± 13.7
35 | Sep | 8.7 ± 13.2 | 20.7 ± 14.5 | 41.1 ± 16.8 | 233.0 ± 28.6 | 95.8 ± 19.4 | 23.8 ± 15.0 | 44.8 ± 16.7 | 17.7 ± 13.6 | 113.0 ± 19.3 | -13.3 ± 11.8 | 5.8 ± 14.1 | 208.0 ± 22.5
37 | Sep | 72.5 ± 15.9 | 77.3 ± 15.8 | 102.0 ± 17.0 | 101.0 ± 17.4 | 109.0 ± 16.4 | 45.5 ± 13.9 | 45.1 ± 14.4 | 61.0 ± 14.7 | 46.6 ± 12.9 | 40.0 ± 12.7 | 99.9 ± 17.0 | 59.2 ± 12.7
39 | Sep | 32.9 ± 14.8 | 50.3 ± 16.4 | 61.4 ± 18.1 | 43.3 ± 15.3 | 48.1 ± 17.2 | 13.9 ± 13.8 | -7.0 ± 12.5 | 49.2 ± 16.1 | 54.8 ± 16.3 | 21.6 ± 14.4 | 82.1 ± 18.5 | 67.3 ± 15.8
41 | Oct | 15.0 ± 13.2 | 41.8 ± 15.5 | 77.7 ± 17.5 | 83.2 ± 17.2 | 67.3 ± 16.6 | -1.0 ± 12.5 | 50.0 ± 15.9 | 61.4 ± 16.3 | 45.1 ± 15.1 | 44.4 ± 15.8 | 59.6 ± 17.0 | 90.6 ± 16.6
43 | Oct | 50.7 ± 13.3 | 87.7 ± 15.7 | 52.5 ± 13.4 | 58.1 ± 13.5 | 55.9 ± 13.2 | 37.4 ± 13.2 | 52.5 ± 13.7 | 126.0 ± 17.4 | 40.3 ± 12.7 | 28.8 ± 12.6 | 113.0 ± 17.2 | 55.9 ± 12.7
45 | Nov | 33.5 ± 11.1 | 61.4 ± 13.2 | 83.2 ± 14.2 | 50.7 ± 12.2 | 69.2 ± 13.1 | 11.5 ± 10.1 | 16.90 ± 8.55 | 78.4 ± 14.2 | 31.4 ± 10.7 | 36.2 ± 11.8 | 67.7 ± 13.5 | 70.3 ± 12.4
47 | Nov | 48.80 ± 9.25 | 73.3 ± 10.5 | 58.1 ± 10.2 | 33.20 ± 8.73 | 68.8 ± 10.4 | 52.50 ± 9.80 | 48.80 ± 7.99 | 111.0 ± 12.4 | 34.10 ± 8.25 | 94.0 ± 12.1 | 164.0 ± 14.2 | 39.60 ± 8.36
49 | Dec | 53.3 ± 10.8 | 51.1 ± 11.0 | 98.4 ± 14.3 | 56.2 ± 11.3 | 54.8 ± 11.0 | 52.2 ± 11.3 | 57.7 ± 10.6 | 108.0 ± 14.4 | 32.20 ± 9.62 | 70.3 ± 13.6 | 144.0 ± 15.4 | 47.7 ± 10.2
51 | Dec | 49.6 ± 10.5 | (k) | 85.1 ± 14.3 | (k) | 94.4 ± 13.3 | 48.1 ± 11.4 | 30.50 ± 8.51 | 66.6 ± 12.5 | (m) | 100.0 ± 14.8 | 323.0 ± 22.1 | 51.1 ± 10.6
| Detection frequency | 20 of 26 | 23 of 25 | 25 of 26 | 25 of 25 | 26 of 26 | 19 of 25 | 21 of 26 | 21 of 25 | 16 of 24 | 23 of 26 | 21 of 26 | 24 of 26
| Mean | 26.7 | 40.0 | 62.8 | 45.6 | 66.50 | 22.7 | 27.3 | 50.7 | 25.2 | 29.2 | 62.8 | 44.3
| Median | 22.3 | 39.6 | 52.2 | 29.9 | 67.7 | 19.6 | 25.6 | 45.9 | 17.6 | 23.5 | 50.2 | 32.2
| Interquartile Range | 30.6 | 30.0 | 59.0 | 27.6 | 29.2 | 24.9 | 29.0 | 46.1 | 23.9 | 26.2 | 63.6 | 32.7
| Maximum | 72.5 | 87.7 | 191 | 233 | 111 | 52.5 | 58.1 | 126 | 113 | 100 | 323 | 208
| Median Percent of DCS | 0.00029 | 0.00051 | 0.00067 | 0.00038 | 0.00087 | 0.00025 | 0.00033 | 0.00059 | 0.00022 | 0.00030 | 0.00064 | 0.00041
| Mean Dose (nSv) | 6.26 | 9.38 | 14.7 | 10.7 | 15.60 | 5.33 | 6.40 | 11.9 | 5.91 | 6.85 | 14.7 | 10.4
See the first tab for a description of standard footnotes

## A.2.3 Liv Site and S300 Be
A.2.3 Beryllium concentration (pg/m3) in air particulate samples at the Livermore Site and Site 300 locations, 2022 (e)
Month | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Site 300 Perimeter | Site 300 Perimeter | Site 300 Perimeter
| CAFE | COW | MESQ | MET | SALV | VIS | TNK5 | EOBS | GOLF
Jan | 9.80 | 10.00 | 8.90 | 8.60 | 7.60 | 9.40 | 7.10 | 6.70 | 6.70
Feb | 18.00 | 19.00 | 12.00 | 14.00 | 13.00 | 20.00 | 14.00 | 14.00 | 15.00
Mar | 12.00 | 13.00 | 8.30 | 9.20 | 9.90 | 11.00 | 11.00 | 9.00 | 10.00
Apr | 14.00 | 12.00 | 9.60 | 11.00 | 10.00 | 13.00 | 15.00 | 13.00 | 18.00
May | 14.00 | 17.00 | 10.00 | 12.00 | 12.00 | 14.00 | 16.0 | 17.0 | 15.0
Jun | 13.00 | 12.00 | 9.60 | 11.00 | 11.00 | 12.00 | 14.00 | 10.00 | 14.00
Jul | 18.00 | 16.00 | 13.00 | 14.00 | 15.00 | 18.00 | 24.00 | 22.00 | 27.00
Aug | 24.00 | 17.00 | 16.00 | 16.00 | 17.00 | 23.00 | 33.00 | 20.00 | 34.00
Sep | 19.00 | 18.00 | 12.00 | 17.00 | 16.00 | 28.00 | 26.00 | 20.00 | 26.00
Oct | 22.00 | 20.00 | 15.00 | 17.00 | 18.00 | 19.00 | 26.00 | 27.00 | 33.00
Nov | 9.40 | 6.90 | 5.80 | 7.00 | 6.10 | 8.60 | 7.80 | 8.90 | 9.20
Dec | 6.50 | 3.60 | 3.80 | 4.20 | 2.700 | 3.900 | 5.70 | 5.70 | 7.00
Detection frequency | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12
Median | 14 | 14 | 9.8 | 12 | 12 | 14 | 14 | 14 | 15
Interquartile Range | 6.8 | 5.8 | 3.5 | 5.5 | 5.9 | 8.6 | 14 | 11 | 16
Maximum | 24 | 20 | 16 | 17 | 18 | 28 | 33 | 27 | 34
Median Percent of ACL | 0.14 | 0.14 | 0.098 | 0.12 | 0.12 | 0.14 | 0.14 | 0.14 | 0.15
ACL | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000 | 10000
See the first tab for a description of standard footnotes

## A.2.4 Liv Site and S300 Pu
A.2.4 Plutonium-239+240 concentrations (nBq/m3) in air particulate samples from the Livermore Site perimeter and Site 300 perimeter composite, 2022 (e) (n) (r)
Month | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Livermore Site Perimeter | Site 300 Perimeter
| CAFE | COW | CRED | MESQ | MET | SALV | VIS | Composite
Jan | 6.4 ± 11.4 | -2.3 ± 13.6 | 2.3 ± 18.4 | -7.9 ± 11.8 | -7.0 ± 10.4 | -6.5 ± 13.0 | -4.5 ± 11.2 | -12.7 ± 11.9
Feb | -6.44 ± 6.44 | 4.29 ± 6.03 | -2.25 ± 6.77 | 6.73 ± 9.77 | -4.44 ± 9.88 | -6.66 ± 6.66 | 7.22 ± 7.99 | -2.49 ± 5.00
Mar | -2.29 ± 5.11 | -13.60 ± 7.88 | 2.3 ± 10.4 | -5.70 ± 9.88 | -19.8 ± 11.0 | -4.40 ± 9.84 | 2.23 ± 7.07 | 1.29 ± 2.58
Apr | -14.70 ± 6.92 | 2.23 ± 5.00 | 2.25 ± 5.03 | 6.59 ± 7.92 | -17.50 ± 8.21 | -33.9 ± 11.8 | -10.50 ± 8.66 | 1.08 ± 2.42
May | 0.00 ± 7.55 | -16.1 ± 11.3 | 9.7 ± 10.8 | -13.2 ± 26.8 | 9.3 ± 10.4 | 8.84 ± 9.88 | -18.7 ± 40.7 | 3.44 ± 4.59
Jun | 12.3 ± 12.1 | -21.2 ± 36.5 | 14.6 ± 11.8 | -4.37 ± 7.33 | 5.92 ± 7.88 | 4.03 ± 6.96 | 2.09 ± 5.92 | -10.4 ± 19.9
Jul | -4.8 ± 13.2 | -0.9 ± 15.9 | 4.14 ± 7.14 | 8.66 ± 9.66 | 0.0 ± 12.9 | 0.00 ± 6.84 | 4.33 ± 7.51 | 2.32 ± 6.59
Aug | 9.4 ± 10.5 | 7.29 ± 9.73 | 7.22 ± 9.66 | -7.4 ± 30.9 | 4.55 ± 7.88 | 2.50 ± 7.07 | 7.47 ± 9.95 | 1.22 ± 3.44
Sep | -4.9 ± 13.5 | -7.36 ± 8.62 | -2.39 ± 9.32 | -10.6 ± 12.2 | -5.3 ± 14.7 | -14.5 ± 15.7 | 55.1 ± 32.0 | -5.66 ± 6.55
Oct | 12.4 ± 23.1 | -9.2 ± 12.0 | 10.5 ± 24.0 | 8.2 ± 18.8 | -6.6 ± 11.3 | 0.43 ± 7.58 | 0.4 ± 15.7 | -2.60 ± 9.47
Nov | -2.09 ± 8.03 | -5.92 ± 6.99 | (k) | -6.66 ± 8.58 | 6.03 ± 9.88 | -6.25 ± 8.03 | 3.22 ± 6.59 | -0.67 ± 4.40
Dec | -48.5 ± 30.7 | -12.00 ± 9.80 | (k) | -1.6 ± 17.0 | -21.1 ± 12.9 | 2.9 ± 14.1 | 1.8 ± 21.8 | -22.5 ± 13.2
Detection frequency | 1 of 12 | 0 of 12 | 1 of 10 | 0 of 12 | 0 of 12 | 0 of 12 | 1 of 12 | 0 of 12
Median | -2.19 | -6.64 | 3.24 | -5.04 | -4.86 | -2.20 | 2.16 | -1.58
Interquartile Range | 12.4 | 12.3 | 6.79 | 14.2 | 14.5 | 9.13 | 5.86 | 8.08
Maximum | 12.4 | 7.29 | 14.6 | 8.66 | 9.29 | 8.84 | 55.1 | 3.44
Median Percent of DCS | (aa) | (aa) | 0.000036 | (aa) | (aa) | (aa) | 0.000024 | (aa)
Derived Concentration Standard | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000
See the first tab for a description of standard footnotes

## A.2.5 Liv Site and S300 U
A.2.5 Uranium mass concentrations (pg/m3) and atom ratios in air particulate samples from the Livermore Site (composite) and Site 300 onsite and offsite locations, 2022 (e) (n)
Month | TNK5 | TNK5 | TNK5 | ECP | ECP | ECP | EOBS | EOBS | EOBS | GOLF | GOLF | GOLF | NPS | NPS | NPS | PSTL | PSTL | PSTL | WCP | WCP | WCP | WOBS | WOBS | WOBS | Livermore composite | Livermore composite | Livermore composite
| Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio | Uranium-235 | Uranium-238 | U235/U238 ratio
Jan | 0.08550 ± 0.00460 | 12.300 ± 0.616 | 0.007040 ± 0.000141 | 0.07040 ± 0.00379 | 9.740 ± 0.487 | 0.007320 ± 0.000146 | 0.07870 ± 0.00432 | 11.000 ± 0.551 | 0.007240 ± 0.000164 | 0.06810 ± 0.00369 | 9.520 ± 0.476 | 0.007250 ± 0.000151 | 0.07270 ± 0.00416 | 10.200 ± 0.511 | 0.007200 ± 0.000200 | 0.2140 ± 0.0115 | 30.00 ± 1.50 | 0.007210 ± 0.000144 | 0.07460 ± 0.00436 | 10.700 ± 0.537 | 0.007040 ± 0.000213 | (k) | (k) | (k) | 0.07990 ± 0.00432 | 11.200 ± 0.560 | 0.007230 ± 0.000148
Feb | 0.17100 ± 0.00919 | 24.30 ± 1.21 | 0.007120 ± 0.000142 | 0.14900 ± 0.00805 | 21.10 ± 1.06 | 0.007160 ± 0.000143 | 0.15200 ± 0.00820 | 21.50 ± 1.08 | 0.007170 ± 0.000143 | 0.13100 ± 0.00705 | 18.400 ± 0.920 | 0.007210 ± 0.000144 | 0.12300 ± 0.00662 | 17.200 ± 0.859 | 0.007250 ± 0.000145 | 0.2350 ± 0.0126 | 33.00 ± 1.65 | 0.007200 ± 0.000144 | 0.3260 ± 0.0176 | 46.70 ± 2.34 | 0.007070 ± 0.000141 | 0.07770 ± 0.00418 | 10.900 ± 0.546 | 0.007200 ± 0.000144 | 0.12200 ± 0.00656 | 17.200 ± 0.859 | 0.007190 ± 0.000144
Mar | 0.10300 ± 0.00556 | 15.800 ± 0.791 | 0.006610 ± 0.000132 | 0.08670 ± 0.00467 | 12.200 ± 0.610 | 0.007200 ± 0.000144 | 0.08910 ± 0.00480 | 12.700 ± 0.635 | 0.007100 ± 0.000142 | 0.09780 ± 0.00527 | 13.900 ± 0.693 | 0.007150 ± 0.000143 | 0.08360 ± 0.00450 | 11.700 ± 0.583 | 0.007270 ± 0.000145 | 0.15100 ± 0.00814 | 21.30 ± 1.06 | 0.007190 ± 0.000144 | 0.08480 ± 0.00457 | 12.300 ± 0.613 | 0.007000 ± 0.000140 | (k) | (k) | (k) | 0.08150 ± 0.00439 | 11.300 ± 0.567 | 0.007280 ± 0.000146
Apr | 0.12000 ± 0.00648 | 18.000 ± 0.901 | 0.006770 ± 0.000135 | 0.11300 ± 0.00610 | 15.900 ± 0.796 | 0.007200 ± 0.000144 | 0.11300 ± 0.00611 | 16.400 ± 0.820 | 0.007000 ± 0.000140 | 0.12900 ± 0.00694 | 18.300 ± 0.913 | 0.007150 ± 0.000143 | 0.12000 ± 0.00646 | 16.800 ± 0.840 | 0.007240 ± 0.000145 | 0.2760 ± 0.0148 | 39.00 ± 1.95 | 0.007170 ± 0.000143 | 0.12000 ± 0.00646 | 17.200 ± 0.859 | 0.007070 ± 0.000141 | 0.12200 ± 0.00654 | 17.200 ± 0.858 | 0.007180 ± 0.000144 | 0.08250 ± 0.00444 | 11.600 ± 0.579 | 0.007220 ± 0.000144
May | 0.12400 ± 0.00667 | 19.400 ± 0.971 | 0.006460 ± 0.000129 | 0.13600 ± 0.00730 | 19.400 ± 0.972 | 0.007060 ± 0.000141 | 0.13600 ± 0.00737 | 19.200 ± 0.961 | 0.007160 ± 0.000150 | 0.10600 ± 0.00570 | 14.900 ± 0.744 | 0.007210 ± 0.000144 | 0.11300 ± 0.00606 | 15.700 ± 0.784 | 0.007270 ± 0.000145 | 0.2610 ± 0.0140 | 36.80 ± 1.84 | 0.007190 ± 0.000144 | 0.13900 ± 0.00747 | 21.00 ± 1.05 | 0.006700 ± 0.000134 | 0.11900 ± 0.00641 | 16.600 ± 0.830 | 0.007260 ± 0.000145 | 0.08100 ± 0.00436 | 11.200 ± 0.560 | 0.007320 ± 0.000146
Jun | 0.2140 ± 0.0115 | 33.20 ± 1.66 | 0.006530 ± 0.000131 | 0.16000 ± 0.00862 | 22.90 ± 1.14 | 0.007090 ± 0.000142 | 0.15700 ± 0.00846 | 23.00 ± 1.15 | 0.006910 ± 0.000138 | 0.17500 ± 0.00940 | 24.30 ± 1.22 | 0.007270 ± 0.000145 | 0.16100 ± 0.00868 | 22.70 ± 1.13 | 0.007190 ± 0.000144 | 0.3490 ± 0.0188 | 49.50 ± 2.47 | 0.007140 ± 0.000143 | 0.18000 ± 0.00969 | 26.00 ± 1.30 | 0.007010 ± 0.000140 | 0.17100 ± 0.00922 | 24.30 ± 1.22 | 0.007120 ± 0.000142 | 0.09390 ± 0.00506 | 13.200 ± 0.659 | 0.007210 ± 0.000144
Jul | 0.17800 ± 0.00961 | 27.20 ± 1.36 | 0.006650 ± 0.000133 | 0.13900 ± 0.00750 | 19.600 ± 0.980 | 0.007190 ± 0.000144 | 0.15300 ± 0.00822 | 22.30 ± 1.12 | 0.006920 ± 0.000138 | 0.2090 ± 0.0113 | 29.40 ± 1.47 | 0.007210 ± 0.000144 | 0.15000 ± 0.00809 | 21.30 ± 1.06 | 0.007160 ± 0.000143 | 0.16200 ± 0.00872 | 22.70 ± 1.13 | 0.007230 ± 0.000145 | 0.13100 ± 0.00706 | 18.900 ± 0.946 | 0.007020 ± 0.000141 | 0.13100 ± 0.00706 | 18.500 ± 0.927 | 0.007160 ± 0.000143 | 0.08160 ± 0.00439 | 11.400 ± 0.572 | 0.007230 ± 0.000145
Aug | 0.2880 ± 0.0155 | 43.30 ± 2.16 | 0.006740 ± 0.000135 | 0.2100 ± 0.0113 | 29.70 ± 1.49 | 0.007150 ± 0.000143 | 0.2330 ± 0.0125 | 33.60 ± 1.68 | 0.007010 ± 0.000140 | 0.2900 ± 0.0156 | 40.70 ± 2.03 | 0.007210 ± 0.000144 | 0.2260 ± 0.0122 | 31.80 ± 1.59 | 0.007190 ± 0.000144 | 0.2320 ± 0.0125 | 32.60 ± 1.63 | 0.007190 ± 0.000144 | 0.2020 ± 0.0109 | 28.50 ± 1.42 | 0.007170 ± 0.000143 | 0.2040 ± 0.0110 | 28.80 ± 1.44 | 0.007180 ± 0.000144 | 0.11300 ± 0.00608 | 15.600 ± 0.782 | 0.007310 ± 0.000146
Sep | 0.2870 ± 0.0154 | 42.10 ± 2.11 | 0.006890 ± 0.000138 | 0.2310 ± 0.0124 | 34.80 ± 1.74 | 0.006720 ± 0.000134 | 0.2460 ± 0.0132 | 36.50 ± 1.82 | 0.006820 ± 0.000136 | 0.3010 ± 0.0162 | 42.10 ± 2.10 | 0.007260 ± 0.000145 | 0.2330 ± 0.0126 | 32.60 ± 1.63 | 0.007250 ± 0.000147 | 0.2420 ± 0.0132 | 34.40 ± 1.72 | 0.007130 ± 0.000151 | 0.2440 ± 0.0131 | 35.00 ± 1.75 | 0.007050 ± 0.000141 | 0.2050 ± 0.0111 | 29.10 ± 1.45 | 0.007150 ± 0.000143 | 0.13400 ± 0.00721 | 18.400 ± 0.922 | 0.007350 ± 0.000147
Oct | 0.3090 ± 0.0166 | 47.00 ± 2.35 | 0.006650 ± 0.000133 | 0.2820 ± 0.0152 | 39.70 ± 1.99 | 0.007180 ± 0.000144 | 0.2950 ± 0.0159 | 42.20 ± 2.11 | 0.007080 ± 0.000142 | 0.3780 ± 0.0204 | 53.50 ± 2.67 | 0.007150 ± 0.000143 | 0.2760 ± 0.0149 | 38.40 ± 1.92 | 0.007270 ± 0.000145 | 0.3870 ± 0.0209 | 57.50 ± 2.88 | 0.006820 ± 0.000136 | 0.2900 ± 0.0156 | 42.10 ± 2.10 | 0.006970 ± 0.000139 | 0.2510 ± 0.0135 | 35.30 ± 1.77 | 0.007180 ± 0.000144 | 0.14600 ± 0.00784 | 20.30 ± 1.01 | 0.007270 ± 0.000145
Nov | 0.13300 ± 0.00717 | 19.000 ± 0.952 | 0.007090 ± 0.000142 | 0.11700 ± 0.00642 | 16.600 ± 0.828 | 0.007170 ± 0.000159 | 0.13500 ± 0.00728 | 19.200 ± 0.960 | 0.007130 ± 0.000143 | 0.14600 ± 0.00786 | 20.60 ± 1.03 | 0.007170 ± 0.000143 | 0.12000 ± 0.00646 | 16.800 ± 0.839 | 0.007230 ± 0.000145 | 0.2240 ± 0.0121 | 33.10 ± 1.66 | 0.006860 ± 0.000137 | 0.14400 ± 0.00774 | 20.50 ± 1.02 | 0.007100 ± 0.000142 | 0.12100 ± 0.00666 | 16.900 ± 0.845 | 0.007230 ± 0.000169 | 0.09740 ± 0.00525 | 13.500 ± 0.677 | 0.007290 ± 0.000146
Dec | 0.03730 ± 0.00262 | 5.370 ± 0.268 | 0.007030 ± 0.000347 | 0.03720 ± 0.00277 | 5.650 ± 0.283 | 0.006660 ± 0.000367 | 0.04420 ± 0.00268 | 6.350 ± 0.318 | 0.007050 ± 0.000241 | 0.04630 ± 0.00279 | 6.510 ± 0.325 | 0.007200 ± 0.000243 | 0.03830 ± 0.00225 | 5.450 ± 0.272 | 0.007120 ± 0.000219 | 0.06980 ± 0.00394 | 10.100 ± 0.505 | 0.007000 ± 0.000184 | 0.04450 ± 0.00268 | 6.480 ± 0.324 | 0.006950 ± 0.000232 | 0.03810 ± 0.00239 | 5.510 ± 0.275 | 0.007010 ± 0.000265 | 0.03350 ± 0.00182 | 4.670 ± 0.233 | 0.007270 ± 0.000157
Detection frequency | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 12 of 12 | 10 of 10 | 10 of 10 | 10 of 10 | 12 of 12 | 12 of 12 | 12 of 12
Median | 0.152 | 21.8 | 0.00676 | 0.138 | 19.5 | 0.00716 | 0.144 | 20.4 | 0.00706 | 0.138 | 19.5 | 0.00721 | 0.122 | 17.0 | 0.00724 | 0.233 | 33.0 | 0.00718 | 0.142 | 20.8 | 0.00703 | 0.126 | 17.8 | 0.00718 | 0.0882 | 12.4 | 0.00727
Interquartile Range | 0.117 | 18.0 | 0.000392 | 0.0661 | 9.62 | 0.000110 | 0.0690 | 10.2 | 0.000157 | 0.125 | 17.6 | 0.0000550 | 0.0716 | 10.3 | 0.0000650 | 0.0638 | 9.17 | 0.0000950 | 0.101 | 14.2 | 0.0000775 | 0.0763 | 11.0 | 0.0000425 | 0.0339 | 4.72 | 0.0000675
Maximum | 0.309 | 47.0 | 0.00712 | 0.282 | 39.7 | 0.00732 | 0.295 | 42.2 | 0.00724 | 0.378 | 53.5 | 0.00727 | 0.276 | 38.4 | 0.00727 | 0.387 | 57.5 | 0.00723 | 0.326 | 46.7 | 0.00717 | 0.251 | 35.3 | 0.00726 | 0.146 | 20.3 | 0.00735
Median Percent of DCS | 0.000071 | 0.0016 | (c) | 0.000064 | 0.0014 | (c) | 0.000067 | 0.0015 | (c) | 0.000065 | 0.0014 | (c) | 0.000057 | 0.0012 | (c) | 0.00011 | 0.0024 | (c) | 0.000066 | 0.0015 | (c) | 0.000059 | 0.0013 | (c) | 0.000041 | 0.00090 | (c)
Derived Concentration Standard | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c) | 214000 | 1380000 | (c)
Maximum Percent of DCS | 0.00014 | 0.0034 | (c) | 0.00013 | 0.0029 | (c) | 0.00014 | 0.0031 | (c) | 0.00018 | 0.0039 | (c) | 0.00013 | 0.0028 | (c) | 0.00018 | 0.0042 | (c) | 0.00015 | 0.0034 | (c) | 0.00012 | 0.0026 | (c) | 0.000068 | 0.0015 | (c)
See the first tab for a description of standard footnotes

## A.2.6 Liv Site Downwind GAB
A.2.6(a) Bi-weekly gross alpha concentrations (µBq/m3) from air particulate samples from the Livermore Valley downwind locations, 2022 (e) (n) (r)
Date | Gross alpha | Gross alpha | Gross alpha | Gross alpha
| AMON | CPET | TANK | ZON7
Jan 4 | 7.4 ± 28.0 | 1.9 ± 24.5 | 23.8 ± 33.9 | 1.9 ± 24.3
Jan 18 | 2.0 ± 26.3 | 29.0 ± 35.4 | 7.5 ± 28.3 | 45.9 ± 40.3
Feb 1 | 23.9 ± 34.0 | 40.7 ± 39.2 | 29.3 ± 35.7 | 40.3 ± 38.8
Feb 15 | 29.4 ± 35.7 | 51.1 ± 41.8 | 13.0 ± 30.3 | 89.2 ± 50.7
Mar 1 | 7.4 ± 28.2 | 18.2 ± 31.9 | -8.9 ± 20.8 | 57.0 ± 43.7
Mar 15 | 13.0 ± 30.3 | 7.5 ± 28.5 | 18.4 ± 32.2 | (k)
Mar 29 | 18.4 ± 32.1 | -8.9 ± 20.8 | -14.5 ± 17.8 | 37.0 ± 39.6
Apr 12 | 8.2 ± 23.1 | 30.5 ± 32.3 | 2.7 ± 20.4 | 30.1 ± 31.9
Apr 26 | 13.7 ± 25.7 | -8.1 ± 13.2 | -2.8 ± 17.4 | 8.2 ± 23.2
May 10 | 8.2 ± 23.3 | 2.8 ± 20.7 | 24.8 ± 30.2 | 38.1 ± 36.2
May 24 | 2.7 ± 20.5 | 8.2 ± 23.2 | -2.7 ± 17.3 | -2.7 ± 17.3
Jun 7 | 24.7 ± 30.0 | 8.1 ± 23.1 | 2.7 ± 20.5 | 19.2 ± 27.9
Jun 22 | -2.6 ± 16.2 | 12.9 ± 24.2 | 23.0 ± 28.0 | 43.3 ± 34.6
Jul 5 | 32.4 ± 34.3 | 2.9 ± 21.9 | 32.4 ± 34.3 | -3.0 ± 18.6
Jul 20 | 7.0 ± 21.6 | 68.1 ± 41.4 | 17.1 ± 26.0 | 12.1 ± 23.9
Aug 2 | (m) | 25.6 ± 32.2 | (m) | (m)
Aug 3 | 18.4 ± 27.9 | (m) | (m) | 38.1 ± 41.4
Aug 16 | 30.9 ± 33.6 | 39.2 ± 34.7 | (m) | 36.5 ± 35.4
Aug 17 | (m) | (m) | 20.1 ± 17.7 | (m)
Aug 30 | 56.2 ± 40.0 | 57.0 ± 40.7 | (m) | 51.1 ± 38.8
Aug 31 | (m) | (m) | 44.8 ± 36.4 | (m)
Sep 13 | (m) | 76.6 ± 44.8 | (m) | (m)
Sep 14 | 27.2 ± 29.7 | (m) | 40.0 ± 35.1 | 42.6 ± 34.5
Sep 27 | 2.2 ± 22.0 | 29.2 ± 31.9 | 42.9 ± 38.1 | 31.3 ± 34.0
Oct 10 | (m) | 67.0 ± 45.1 | (m) | (m)
Oct 11 | 29.2 ± 31.8 | (m) | 101.0 ± 50.7 | 45.5 ± 37.0
Oct 25 | 93.6 ± 48.8 | 57.0 ± 38.1 | 66.2 ± 42.2 | 34.4 ± 33.4
Nov 8 | 29.5 ± 32.1 | 18.3 ± 27.7 | 39.6 ± 35.0 | 39.2 ± 34.7
Nov 22 | 45.9 ± 37.0 | 127.0 ± 55.9 | 29.3 ± 31.9 | 34.9 ± 33.9
Dec 6 | 61.4 ± 41.1 | 23.9 ± 30.0 | 12.9 ± 25.5 | 50.7 ± 38.5
Dec 20 | 55.9 ± 39.6 | 39.6 ± 34.8 | 29.0 ± 31.6 | 39.6 ± 34.9
Detection frequency | 5 of 26 | 10 of 26 | 7 of 25 | 15 of 25
Median | 21.2 | 27.3 | 23.0 | 38.1
Interquartile Range | 22.9 | 40.3 | 24.9 | 13.2
Maximum | 93.6 | 127 | 101 | 89.2
A.2.6(b) Bi-weekly gross beta concentrations (µBq/m3) from air particulate samples from the Livermore Valley downwind locations, 2022 (e) (n) (r)
Date | Gross beta | Gross beta | Gross beta | Gross beta
| AMON | CPET | TANK | ZON7
Jan 4 | 220.0 ± 73.3 | 199.0 ± 68.4 | 159.0 ± 67.3 | 164.0 ± 64.8
Jan 18 | 455.0 ± 94.0 | 422.0 ± 90.3 | 370.0 ± 87.0 | 381.0 ± 88.1
Feb 1 | 736 ± 113 | 629 ± 107 | 540.0 ± 99.9 | 762 ± 114
Feb 15 | 596 ± 104 | 629 ± 106 | 574 ± 102 | 629 ± 106
Mar 1 | 302.0 ± 81.0 | 385.0 ± 87.7 | 268.0 ± 77.7 | 329.0 ± 84.0
Mar 15 | 320.0 ± 82.9 | 320.0 ± 83.2 | 267.0 ± 78.1 | (k)
Mar 29 | 157.0 ± 67.0 | 172.0 ± 68.1 | 156.0 ± 67.0 | 128.0 ± 67.3
Apr 12 | 314.0 ± 81.8 | 286.0 ± 80.3 | 189.0 ± 70.3 | 279.0 ± 79.2
Apr 26 | 196.0 ± 71.4 | 198.0 ± 70.7 | 141.0 ± 65.5 | 122.0 ± 63.6
May 10 | 126.0 ± 64.4 | 159.0 ± 68.1 | 100.0 ± 61.4 | 137.0 ± 68.8
May 24 | 204.0 ± 72.1 | 228.0 ± 74.4 | 172.0 ± 68.8 | 197.0 ± 71.4
Jun 7 | 146.0 ± 66.2 | 205.0 ± 71.8 | 108.0 ± 62.2 | 160.0 ± 67.7
Jun 22 | 151.0 ± 63.3 | 204.0 ± 69.2 | 159.0 ± 64.4 | 200.0 ± 68.4
Jul 5 | 175.0 ± 73.3 | 206.0 ± 75.8 | 152.0 ± 70.7 | 220.0 ± 77.7
Jul 20 | 216.0 ± 68.1 | 152.0 ± 62.5 | 120.0 ± 58.5 | 160.0 ± 62.5
Aug 2 | (m) | 196.0 ± 73.6 | (m) | (m)
Aug 3 | 286.0 ± 78.4 | (m) | (m) | 274.0 ± 92.9
Aug 16 | 283.0 ± 81.4 | 322.0 ± 80.7 | (m) | 252.0 ± 78.1
Aug 17 | (m) | (m) | 277.0 ± 49.9 | (m)
Aug 30 | 302.0 ± 80.3 | 237.0 ± 74.7 | (m) | 192.0 ± 69.9
Aug 31 | (m) | (m) | 157.0 ± 65.1 | (m)
Sep 13 | (m) | 596 ± 102 | (m) | (m)
Sep 14 | 507.0 ± 92.5 | - | 551.0 ± 99.5 | 492.0 ± 91.4
Sep 27 | 310.0 ± 84.4 | 314.0 ± 81.0 | 256.0 ± 79.9 | 252.0 ± 79.2
Oct 10 | (m) | 592 ± 108 | (m) | (m)
Oct 11 | 518.0 ± 97.3 | (m) | 396.0 ± 88.8 | 433.0 ± 91.0
Oct 25 | 488.0 ± 95.1 | 666 ± 103 | 507.0 ± 95.8 | 551.0 ± 99.5
Nov 8 | 252.0 ± 75.8 | 252.0 ± 75.1 | 169.0 ± 67.0 | 228.0 ± 72.1
Nov 22 | 610 ± 104 | 685 ± 109 | 525.0 ± 98.0 | 592 ± 103
Dec 6 | 614 ± 104 | 385.0 ± 87.3 | 522.0 ± 97.3 | 518.0 ± 96.9
Dec 20 | 529.0 ± 97.7 | 544.0 ± 98.4 | 448.0 ± 91.4 | 555.0 ± 99.5
Detection frequency | 26 of 26 | 26 of 26 | 25 of 25 | 25 of 25
Median | 302 | 300 | 256 | 252
Interquartile Range | 295 | 309 | 291 | 300
Maximum | 736 | 685 | 574 | 762
See the first tab for a description of standard footnotes

## A.2.7 Liv Val HTO
A.2.7 Tritium concentrations (mBq/m3) in air, Livermore Valley, 2022 (e) (n) (r) (s)
Week | Month | AMON | CPET | FIRE | HOSP | VET | ZON7
1 | Jan | 18.40 ± 9.58 | 38.5 ± 13.1 | 23.6 ± 11.2 | 10.4 ± 11.6 | 14.1 ± 10.4 | 29.7 ± 10.2
3 | Jan | 26.5 ± 10.7 | 45.9 ± 13.0 | 17.10 ± 9.10 | 14.3 ± 11.1 | 19.1 ± 10.4 | 24.1 ± 10.8
5 | Feb | 20.10 ± 8.51 | 22.70 ± 9.29 | 25.30 ± 7.55 | 6.66 ± 7.36 | 36.50 ± 9.10 | 20.70 ± 8.36
7 | Feb | 25.00 ± 9.62 | 42.9 ± 11.7 | 21.30 ± 7.99 | 16.50 ± 8.03 | 23.00 ± 9.25 | 19.40 ± 9.03
9 | Mar | 17.50 ± 8.33 | 18.50 ± 8.51 | 9.80 ± 6.99 | 8.18 ± 6.96 | 16.60 ± 7.70 | 15.70 ± 7.84
11 | Mar | 16.10 ± 8.81 | 27.00 ± 8.92 | 13.90 ± 7.77 | 6.25 ± 7.66 | 7.18 ± 7.47 | (k)
13 | Mar | 12.1 ± 10.8 | 46.6 ± 12.1 | 14.6 ± 10.1 | 8.9 ± 10.3 | 6.44 ± 9.62 | 23.9 ± 10.7
15 | Apr | 19.40 ± 9.66 | 52.2 ± 11.0 | 16.00 ± 8.77 | 14.00 ± 9.69 | 13.70 ± 8.62 | 12.80 ± 8.44
17 | Apr | 1.07 ± 9.62 | 124.0 ± 15.6 | 16.0 ± 10.1 | 8.7 ± 10.4 | -8.07 ± 8.14 | 26.4 ± 11.2
19 | May | 6.99 ± 9.51 | 53.3 ± 11.5 | 2.68 ± 8.44 | -0.47 ± 8.66 | (k) | 2.71 ± 8.10
21 | May | 19.2 ± 11.4 | 57.4 ± 12.8 | 15.4 ± 10.4 | 5.88 ± 9.88 | 6.62 ± 9.47 | 23.5 ± 10.5
23 | Jun | 2.3 ± 11.8 | 67.3 ± 15.2 | 16.2 ± 11.5 | 14.4 ± 11.4 | 28.4 ± 12.3 | 19.8 ± 12.0
25 | Jun | 18.9 ± 12.4 | 51.1 ± 13.6 | 13.6 ± 10.9 | 6.9 ± 10.6 | 13.1 ± 11.4 | 20.9 ± 11.6
27 | Jul | 14.8 ± 12.1 | 103.0 ± 18.5 | 12.8 ± 12.5 | 10.1 ± 12.5 | 16.6 ± 12.6 | 16.1 ± 12.8
29 | Jul | 19.8 ± 12.6 | 78.1 ± 16.5 | 15.9 ± 12.7 | 30.1 ± 13.8 | 4.4 ± 11.7 | 6.5 ± 11.7
31 | Aug | 15.5 ± 13.0 | 95.1 ± 19.4 | 7.1 ± 12.6 | 11.4 ± 13.9 | 6.2 ± 13.1 | 26.8 ± 14.6
33 | Aug | 55.1 ± 15.9 | 118.0 ± 20.6 | 16.4 ± 13.0 | 7.3 ± 14.0 | (k) | 5.5 ± 13.0
35 | Sep | 26.2 ± 14.5 | 152.0 ± 23.9 | 17.5 ± 14.5 | 6.4 ± 15.6 | 23.9 ± 15.2 | 76.2 ± 18.1
37 | Sep | 12.8 ± 11.4 | 178.0 ± 21.8 | 24.5 ± 11.9 | 1.4 ± 10.1 | 17.6 ± 11.2 | 15.9 ± 11.0
39 | Sep | 36.5 ± 15.5 | 84.4 ± 17.3 | 3.8 ± 13.7 | -1.0 ± 13.0 | 3.6 ± 12.6 | 17.5 ± 14.4
41 | Oct | 21.3 ± 13.8 | 95.5 ± 17.2 | 10.8 ± 14.0 | 10.6 ± 12.7 | 15.5 ± 12.6 | 31.7 ± 14.7
43 | Oct | 28.7 ± 11.9 | 55.5 ± 12.9 | 15.6 ± 12.4 | -0.73 ± 9.51 | 27.5 ± 11.4 | 21.1 ± 11.8
45 | Nov | 18.7 ± 10.3 | 85.5 ± 13.8 | 5.1 ± 10.4 | -5.96 ± 8.18 | 18.6 ± 10.1 | 29.1 ± 11.2
47 | Nov | 17.20 ± 7.18 | 21.40 ± 7.70 | 32.00 ± 8.62 | -3.07 ± 6.03 | 36.10 ± 8.70 | 9.95 ± 7.40
49 | Dec | 32.70 ± 9.66 | 37.7 ± 10.1 | 28.90 ± 9.36 | 9.21 ± 8.07 | 55.9 ± 11.1 | 31.9 ± 10.2
51 | Dec | 33.10 ± 9.84 | 125.0 ± 14.8 | 48.5 ± 10.7 | 12.60 ± 8.58 | 36.6 ± 10.3 | 38.8 ± 11.4
| Detection frequency | 23 of 26 | 26 of 26 | 21 of 26 | 8 of 26 | 17 of 24 | 22 of 25
| Mean | 20.6 | 72.2 | 17.1 | 8.04 | 18.3 | 22.7
| Median | 19.0 | 56.4 | 16.0 | 8.46 | 16.6 | 20.9
| Interquartile Range | 10.2 | 51.8 | 7.35 | 5.23 | 17.8 | 10.9
| Maximum | 55.1 | 178 | 48.5 | 30.1 | 55.9 | 76.2
| Median Percent of DCS | 0.00024 | 0.00072 | 0.00020 | 0.00011 | 0.00021 | 0.00027
| Mean Dose (nSv) | <5 | 16.9 | <5 | <5 | <5 | 5.33
See the first tab for a description of standard footnotes

## A.2.8 Liv Val Upwind GAB
A.2.8(a) Bi-weekly gross alpha concentrations (µBq/m3) from air particulate samples from the Livermore Valley upwind locations and the special interest location, 2022 (e) (n) (r)
Date | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha
| CHUR | FCC | FIRE | HOSP | LWRP
Jan 4 | 2.0 ± 25.9 | -8.9 ± 20.8 | 12.1 ± 28.4 | -8.4 ± 19.5 | 12.9 ± 30.1
Jan 18 | 29.6 ± 36.0 | 29.7 ± 36.1 | 18.6 ± 32.5 | 29.7 ± 36.1 | 35.6 ± 38.1
Feb 1 | 18.4 ± 32.1 | 34.8 ± 37.4 | 45.9 ± 40.3 | 29.3 ± 35.7 | 7.4 ± 28.2
Feb 15 | 40.3 ± 38.8 | 29.3 ± 35.7 | 7.4 ± 28.2 | -3.5 ± 23.8 | 84.0 ± 49.6
Mar 1 | 12.9 ± 30.2 | 23.8 ± 33.9 | 40.3 ± 38.8 | 29.3 ± 35.7 | 7.4 ± 28.1
Mar 15 | 23.9 ± 34.0 | 29.4 ± 35.8 | 23.9 ± 34.1 | -9.0 ± 21.0 | 51.4 ± 41.8
Mar 29 | -3.5 ± 23.5 | -3.5 ± 23.5 | -9.0 ± 20.9 | 12.9 ± 30.2 | 23.8 ± 33.9
Apr 12 | 8.2 ± 23.1 | -2.7 ± 17.2 | 8.2 ± 23.2 | 30.0 ± 31.8 | 2.7 ± 20.5
Apr 26 | 19.2 ± 27.9 | 2.7 ± 20.5 | 13.8 ± 25.8 | -2.7 ± 17.3 | 13.7 ± 25.7
May 10 | -2.8 ± 17.4 | 30.3 ± 32.1 | 2.7 ± 20.5 | 13.7 ± 25.7 | 8.2 ± 23.3
May 24 | 19.2 ± 27.9 | 13.7 ± 25.6 | 19.2 ± 27.9 | 2.7 ± 20.5 | 19.2 ± 27.9
Jun 7 | 2.7 ± 20.5 | -2.7 ± 17.3 | 2.7 ± 20.5 | 30.1 ± 31.9 | 24.9 ± 30.3
Jun 22 | 23.0 ± 27.9 | -2.6 ± 16.2 | 17.9 ± 26.1 | 12.8 ± 24.0 | 2.6 ± 19.1
Jul 5 | 14.7 ± 27.6 | 8.7 ± 24.7 | 2.9 ± 21.7 | 14.7 ± 27.6 | -3.0 ± 18.6
Jul 20 | 1.9 ± 19.1 | 22.1 ± 27.8 | 7.1 ± 22.0 | 27.1 ± 29.6 | 2.0 ± 19.2
Aug 2 | (m) | (m) | 2.3 ± 22.2 | 49.2 ± 40.0 | 25.6 ± 32.2
Aug 3 | 2.1 ± 20.6 | 2.1 ± 20.6 | (m) | (m) | (m)
Aug 16 | 19.4 ± 29.5 | 19.4 ± 29.5 | 12.7 ± 25.2 | 28.9 ± 31.4 | 18.0 ± 27.4
Aug 30 | 18.4 ± 27.9 | 34.4 ± 33.3 | 23.8 ± 30.0 | 18.7 ± 28.4 | 7.5 ± 23.3
Sep 13 | (m) | (m) | 12.8 ± 25.4 | 34.2 ± 33.2 | 44.8 ± 36.5
Sep 14 | 17.1 ± 25.9 | 17.2 ± 26.2 | (m) | (m) | (m)
Sep 27 | -3.6 ± 18.9 | 43.3 ± 38.1 | 13.1 ± 25.9 | 23.9 ± 30.1 | 45.9 ± 37.0
Oct 10 | (m) | (m) | 8.0 ± 24.8 | 31.1 ± 33.8 | 65.5 ± 44.0
Oct 11 | 13.0 ± 25.7 | 56.2 ± 40.0 | (m) | (m) | (m)
Oct 25 | 39.6 ± 35.1 | 34.4 ± 33.4 | 42.6 ± 34.7 | 32.5 ± 31.6 | 47.7 ± 36.1
Nov 8 | 34.3 ± 33.3 | 12.8 ± 25.3 | 34.3 ± 33.3 | 23.6 ± 29.6 | 28.9 ± 31.5
Nov 22 | 40.3 ± 35.5 | 69.6 ± 44.4 | 7.5 ± 23.3 | 34.7 ± 33.6 | 40.0 ± 35.4
Dec 6 | 45.1 ± 36.6 | 18.2 ± 27.6 | 7.5 ± 23.1 | 7.5 ± 23.1 | 50.3 ± 38.1
Dec 20 | -3.3 ± 17.4 | 29.0 ± 31.6 | 7.5 ± 23.1 | 18.2 ± 27.7 | 23.7 ± 29.7
Detection frequency | 5 of 26 | 5 of 26 | 4 of 26 | 4 of 26 | 8 of 26
Median | 17.8 | 20.8 | 12.4 | 23.8 | 23.8
Interquartile Range | 21.4 | 25.9 | 11.6 | 17.1 | 35.9
Maximum | 45.1 | 69.6 | 45.9 | 49.2 | 84.0
A.2.8(b) Bi-weekly gross beta concentrations (µBq/m3) from air particulate samples from the Livermore Valley upwind locations and the special interest location, 2022 (e) (n)
Date | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta
| CHUR | FCC | FIRE | HOSP | LWRP
Jan 4 | 196.0 ± 70.7 | 232.0 ± 74.4 | 198.0 ± 68.1 | 188.0 ± 66.6 | 238.0 ± 75.1
Jan 18 | 339.0 ± 84.7 | 350.0 ± 85.8 | 323.0 ± 83.6 | 329.0 ± 84.0 | 562 ± 103
Feb 1 | 562 ± 101 | 755 ± 114 | 444.0 ± 92.9 | 426.0 ± 91.0 | 977 ± 127
Feb 15 | 485.0 ± 95.8 | 696 ± 110 | 429.0 ± 91.4 | 403.0 ± 89.9 | 836 ± 119
Mar 1 | 213.0 ± 72.9 | 332.0 ± 83.6 | 282.0 ± 79.2 | 219.0 ± 73.6 | 481.0 ± 95.1
Mar 15 | 220.0 ± 73.6 | 206.0 ± 72.5 | 196.0 ± 71.4 | 308.0 ± 81.8 | 346.0 ± 85.1
Mar 29 | 196.0 ± 71.0 | 208.0 ± 72.1 | 127.0 ± 64.0 | 174.0 ± 68.8 | 163.0 ± 67.7
Apr 12 | 244.0 ± 75.5 | 196.0 ± 70.7 | 196.0 ± 71.0 | 275.0 ± 78.4 | 252.0 ± 76.6
Apr 26 | 64.8 ± 57.0 | 112.0 ± 62.2 | 133.0 ± 65.1 | 197.0 ± 71.4 | 129.0 ± 64.4
May 10 | 127.0 ± 64.4 | 157.0 ± 67.7 | 83.6 ± 59.2 | 118.0 ± 63.3 | 87.0 ± 59.6
May 24 | 121.0 ± 63.6 | 132.0 ± 64.8 | 135.0 ± 65.1 | 168.0 ± 68.4 | 153.0 ± 67.0
Jun 7 | 126.0 ± 64.0 | 165.0 ± 68.1 | 112.0 ± 62.5 | 152.0 ± 67.0 | 108.0 ± 62.5
Jun 22 | 152.0 ± 63.6 | 161.0 ± 64.4 | 123.0 ± 60.3 | 150.0 ± 63.3 | 141.0 ± 62.2
Jul 5 | 146.0 ± 69.9 | 250.0 ± 79.6 | 152.0 ± 69.6 | 199.0 ± 75.5 | 242.0 ± 79.6
Jul 20 | 97.7 ± 55.5 | 193.0 ± 66.2 | 95.8 ± 55.9 | 172.0 ± 64.0 | 74.7 ± 52.5
Aug 2 | (m) | (m) | 144.0 ± 67.7 | 149.0 ± 68.8 | 143.0 ± 68.1
Aug 3 | 194.0 ± 69.6 | 205.0 ± 70.7 | (m) | (m) | (m)
Aug 16 | 242.0 ± 77.3 | 273.0 ± 80.3 | 232.0 ± 72.5 | 310.0 ± 79.9 | 246.0 ± 74.0
Aug 30 | 193.0 ± 69.6 | 219.0 ± 71.8 | 183.0 ± 68.4 | 222.0 ± 73.6 | 234.0 ± 73.6
Sep 13 | (m) | (m) | 418.0 ± 88.8 | 433.0 ± 90.3 | 533.0 ± 98.0
Sep 14 | 407.0 ± 84.7 | 507.0 ± 92.9 | (m) | (m) | (m)
Sep 27 | 294.0 ± 83.2 | 345.0 ± 88.1 | 228.0 ± 73.3 | 270.0 ± 77.3 | 272.0 ± 77.7
Oct 10 | (m) | (m) | 407.0 ± 92.5 | 396.0 ± 91.4 | 451.0 ± 96.2
Oct 11 | 470.0 ± 93.6 | 500.0 ± 96.2 | (m) | (m) | (m)
Oct 25 | 511.0 ± 96.2 | 610 ± 104 | 470.0 ± 90.3 | 525.0 ± 94.4 | 577.0 ± 98.0
Nov 8 | 254.0 ± 75.1 | 335.0 ± 82.1 | 173.0 ± 67.0 | 234.0 ± 73.3 | 251.0 ± 74.7
Nov 22 | 622 ± 105 | 673 ± 110 | 507.0 ± 96.6 | 544.0 ± 99.2 | 766 ± 114
Dec 6 | 622 ± 104 | 666 ± 107 | 466.0 ± 92.9 | 455.0 ± 92.1 | 614 ± 104
Dec 20 | 581 ± 101 | 574 ± 101 | 437.0 ± 90.6 | 477.0 ± 94.0 | 466.0 ± 92.9
Detection frequency | 26 of 26 | 26 of 26 | 26 of 26 | 26 of 26 | 26 of 26
Median | 231 | 262 | 197 | 252 | 252
Interquartile Range | 292 | 307 | 278 | 224 | 364
Maximum | 622 | 755 | 507 | 544 | 977
See the first tab for a description of standard footnotes

## A.2.9 Liv Val Pu
A.2.9 Plutonium-239+240 concentrations (nBq/m3) in air particulate samples from the Livermore Valley, 2022 (e) (n) (r)
Month | Valley upwind | Valley upwind | Valley upwind | Valley upwind | Valley downwind | Valley downwind | Valley downwind | Valley downwind | Special interest
| CHUR | FCC | FIRE | HOSP | AMON | CPET | TANK | ZON7 | LWRP
Jan | -6.8 ± 13.7 | -7.2 ± 10.7 | -9.1 ± 11.2 | 2.3 ± 12.8 | 6.8 ± 12.0 | 2.2 ± 11.7 | -15.7 ± 17.4 | -4.8 ± 18.0 | -4.4 ± 13.9
Feb | -14.50 ± 6.81 | -2.37 ± 6.25 | 2.19 ± 4.40 | 2.19 ± 5.36 | -15.80 ± 8.73 | 9.06 ± 6.40 | 2.20 ± 6.22 | -47.4 ± 12.9 | -1.36 ± 5.51
Mar | -2.20 ± 3.81 | -11.10 ± 6.70 | -16.00 ± 9.62 | -2.80 ± 6.25 | -8.29 ± 7.29 | -2.27 ± 8.18 | -15.90 ± 7.55 | -158.0 ± 68.8 | -20.10 ± 9.51
Apr | -72.5 ± 31.4 | -8.40 ± 7.40 | -4.48 ± 9.51 | -2.89 ± 5.00 | -22.50 ± 8.92 | -5.85 ± 5.85 | -17.40 ± 6.84 | -16.20 ± 9.69 | 2.21 ± 6.99
May | -8.8 ± 27.3 | -8.8 ± 27.2 | -2.0 ± 25.6 | -9.5 ± 15.7 | 2.18 ± 6.18 | 8.81 ± 9.84 | -2.2 ± 28.4 | 6.77 ± 9.03 | 0.00 ± 6.51
Jun | 16.3 ± 13.1 | 6.33 ± 8.44 | 14.5 ± 11.7 | 0.00 ± 8.40 | 2.12 ± 5.99 | 2.41 ± 6.81 | -2.0 ± 25.2 | 12.2 ± 16.2 | 2.02 ± 5.74
Jul | 2.66 ± 7.51 | -11.8 ± 36.4 | 6.44 ± 8.55 | 2.31 ± 6.51 | 16.6 ± 12.5 | 13.7 ± 13.5 | 12.9 ± 17.2 | 17.1 ± 13.8 | -13.0 ± 26.3
Aug | 9.5 ± 10.6 | -9.7 ± 21.6 | -9.5 ± 29.2 | 4.62 ± 7.99 | 2.46 ± 6.96 | 15.5 ± 12.5 | 9.25 ± 8.18 | 10.8 ± 12.0 | -2.3 ± 29.3
Sep | -5.5 ± 11.5 | 0.5 ± 12.7 | -1.8 ± 11.7 | -21.2 ± 13.4 | 0.9 ± 15.4 | -8.8 ± 13.6 | 1.4 ± 17.8 | -2.22 ± 8.62 | -6.3 ± 17.4
Oct | -13.2 ± 12.8 | -12.1 ± 12.7 | -22.8 ± 12.3 | -6.10 ± 9.66 | -10.7 ± 11.1 | -13.1 ± 15.1 | 0.4 ± 12.2 | -17.2 ± 12.3 | -9.9 ± 10.5
Nov | -13.30 ± 9.95 | -5.44 ± 7.99 | 5.03 ± 7.77 | -11.90 ± 7.88 | 0.00 ± 6.77 | -0.6 ± 10.7 | -6.29 ± 8.58 | -10.9 ± 11.6 | -7.55 ± 7.07
Dec | -14.0 ± 12.5 | -7.8 ± 12.3 | -19.5 ± 13.7 | -18.2 ± 11.7 | -6.5 ± 13.6 | -6.2 ± 17.1 | -5.48 ± 9.18 | 0.52 ± 9.18 | -3.7 ± 14.1
Detection frequency | 1 of 12 | 0 of 12 | 1 of 12 | 0 of 12 | 1 of 12 | 3 of 12 | 1 of 12 | 1 of 12 | 0 of 12
Median | -7.84 | -8.10 | -3.24 | -2.84 | 0.464 | 0.814 | -2.10 | -3.51 | -4.04
Interquartile Range | 12.5 | 5.35 | 14.0 | 12.3 | 11.1 | 14.8 | 10.3 | 24.2 | 7.12
Maximum | 16.3 | 6.33 | 14.5 | 4.62 | 16.6 | 15.5 | 12.9 | 17.1 | 2.21
Median Percent of DCS | (aa) | (aa) | (aa) | (aa) | 0.0000052 | 0.0000090 | (aa) | (aa) | (aa)
Derived Concentration Standard | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000 | 9000000
See the first tab for a description of standard footnotes

## A.2.10 S300 HTO
A.2.10 Tritium concentrations (mBq/m3) in air, Site 300, 2022 (e) (n) (r) (s)
Week | Month | PSTL
1 | Jan | 13.00 ± 9.80
5 | Feb | 6.44 ± 6.81
7 | Feb | 13.20 ± 8.07
9 | Mar | -0.58 ± 6.36
11 | Mar | -0.53 ± 7.18
13 | Mar | 39.2 ± 11.5
15 | Apr | 5.96 ± 7.44
17 | Apr | 5.74 ± 8.77
19 | May | -2.11 ± 7.25
21 | May | 1.47 ± 7.66
23 | Jun | 8.07 ± 9.55
27 | Jul | 8.8 ± 10.1
29 | Jul | 0.59 ± 8.70
31 | Aug | 0.8 ± 10.5
33 | Aug | 11.3 ± 11.7
35 | Aug | -8.1 ± 10.2
37 | Sep | 1.70 ± 8.73
39 | Sep | 22.1 ± 13.8
41 | Oct | 18.1 ± 11.2
43 | Oct | 20.8 ± 10.3
45 | Nov | -3.05 ± 7.47
47 | Nov | 6.96 ± 6.66
49 | Dec | 16.80 ± 8.29
51 | Dec | -0.10 ± 8.10
| Detection frequency | 8 of 24
| Mean | 7.77
| Median | 6.20
| Interquartile Range | 12.6
| Maximum | 39.2
| Median Percent of DCS | 0.000079
| Mean Dose (nSv) | <5
See the first tab for a description of standard footnotes

## A.2.11 S300 and Offsite GAB
A.2.11(a) Bi-weekly gross alpha concentrations (µBq/m3) from air particulate samples from Site 300 onsite and offsite locations, 2022 (e) (n) (r)
Date | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha | Gross alpha
| TNK5 | PSTL | ECP | EOBS | GOLF | NPS | WCP | WOBS
Jan 5 | 2.0 ± 26.0 | 34.7 ± 37.4 | 7.4 ± 28.1 | -8.9 ± 20.8 | 2.0 ± 25.9 | 62.2 ± 44.8 | 18.4 ± 32.1 | (k)
Jan 19 | 23.9 ± 34.1 | (k) | 29.4 ± 35.8 | 23.9 ± 34.1 | 2.0 ± 26.0 | 7.4 ± 27.9 | 7.5 ± 28.2 | (k)
Feb 2 | 45.9 ± 40.3 | 13.0 ± 30.4 | 86.2 ± 51.1 | 40.3 ± 38.8 | 34.8 ± 37.4 | -3.5 ± 23.6 | 45.9 ± 40.3 | (k)
Feb 16 | 23.9 ± 34.0 | 45.9 ± 40.3 | 23.8 ± 33.9 | 29.3 ± 35.7 | 45.5 ± 40.3 | 51.1 ± 41.8 | 51.4 ± 41.8 | 70.7 ± 50.7
Mar 2 | 34.9 ± 37.4 | 13.0 ± 30.3 | 13.0 ± 30.3 | 12.9 ± 30.3 | 23.9 ± 34.0 | 12.9 ± 30.3 | 2.0 ± 26.0 | (k)
Mar 16 | 2.0 ± 26.0 | 23.9 ± 34.0 | -3.5 ± 23.6 | 13.0 ± 30.3 | 7.4 ± 28.2 | 18.5 ± 32.3 | 45.9 ± 40.7 | (k)
Mar 30 | 7.4 ± 28.2 | 8.1 ± 30.6 | -3.5 ± 23.6 | 12.9 ± 30.2 | 12.9 ± 30.2 | 2.0 ± 26.0 | -3.5 ± 23.6 | (k)
Apr 13 | 13.7 ± 25.6 | 46.6 ± 37.0 | 8.2 ± 23.2 | 30.0 ± 31.9 | 13.7 ± 25.6 | (m) | 8.2 ± 23.3 | 8.2 ± 23.2
Apr 14 | (m) | (m) | (m) | (m) | (m) | 12.8 ± 24.0 | (m) | (m)
Apr 27 | 19.2 ± 27.9 | 33.3 ± 48.5 | 2.7 ± 20.5 | -2.7 ± 17.3 | 13.7 ± 25.7 | 8.8 ± 25.0 | 19.2 ± 27.9 | 19.2 ± 28.0
May 10 | (m) | (m) | (m) | (m) | (m) | -3.4 ± 21.3 | (m) | (m)
May 11 | 34.0 ± 36.1 | 13.7 ± 25.6 | 9.3 ± 26.2 | 15.5 ± 29.0 | 13.7 ± 25.6 | (m) | -3.1 ± 19.6 | 8.4 ± 23.6
May 25 | -2.7 ± 17.3 | 31.9 ± 33.9 | 30.1 ± 31.9 | 35.6 ± 33.8 | 8.2 ± 23.2 | 12.8 ± 24.0 | -2.7 ± 17.3 | 41.1 ± 35.4
Jun 8 | 2.7 ± 20.4 | (m) | 13.7 ± 25.7 | 30.0 ± 31.9 | 19.1 ± 27.9 | 2.7 ± 20.4 | 35.6 ± 33.7 | 8.2 ± 23.1
Jun 9 | (m) | 37.4 ± 35.5 | (m) | (m) | (m) | (m) | (m) | (m)
Jun 22 | 8.2 ± 23.2 | 8.9 ± 25.3 | 2.8 ± 20.6 | 29.8 ± 31.6 | 8.2 ± 23.2 | 35.6 ± 33.8 | 8.2 ± 23.3 | (m)
Jun 27 | (m) | (m) | (m) | (m) | (m) | (m) | (m) | 30.0 ± 25.9
Jul 6 | 13.7 ± 25.6 | 19.2 ± 27.9 | -2.7 ± 17.3 | 19.1 ± 27.9 | 24.6 ± 29.9 | 24.6 ± 30.0 | 35.6 ± 33.7 | -4.4 ± 27.5
Jul 20 | 23.7 ± 29.8 | 29.1 ± 31.7 | 23.7 ± 29.8 | 18.3 ± 27.8 | 29.1 ± 31.7 | 7.5 ± 23.2 | 2.1 ± 20.5 | 7.5 ± 23.2
Aug 3 | 45.1 ± 36.7 | 18.3 ± 27.8 | 12.9 ± 25.6 | 50.7 ± 38.5 | 7.5 ± 23.2 | 23.7 ± 29.8 | 7.5 ± 23.2 | (m)
Aug 8 | (m) | (m) | (m) | (m) | (m) | (m) | (m) | 45.5 ± 30.6
Aug 17 | 50.7 ± 38.1 | 29.0 ± 31.6 | 40.0 ± 35.1 | 18.3 ± 27.8 | 29.1 ± 31.7 | 61.4 ± 41.4 | 29.2 ± 31.8 | 69.9 ± 57.0
Aug 31 | 77.3 ± 45.1 | 77.3 ± 45.1 | 29.0 ± 31.6 | 12.9 ± 25.5 | 40.0 ± 35.1 | 66.6 ± 42.6 | 23.7 ± 29.7 | 23.7 ± 29.7
Sep 14 | 40.0 ± 35.2 | 46.2 ± 37.7 | 18.3 ± 27.8 | 56.2 ± 40.0 | 23.7 ± 29.8 | 67.0 ± 42.6 | 34.4 ± 33.4 | 82.9 ± 46.6
Sep 28 | 50.7 ± 38.5 | -3.3 ± 17.5 | 23.8 ± 29.9 | 18.3 ± 27.8 | 29.2 ± 31.7 | 34.4 ± 33.4 | 23.6 ± 29.7 | 12.8 ± 25.5
Oct 12 | 77.7 ± 45.1 | 67.0 ± 42.6 | 61.4 ± 41.4 | 115.0 ± 53.6 | 56.2 ± 40.0 | 34.5 ± 33.5 | 56.2 ± 40.0 | 67.0 ± 42.6
Oct 26 | 83.2 ± 46.6 | 67.0 ± 42.9 | 50.7 ± 38.5 | 83.2 ± 46.6 | 29.2 ± 31.7 | 23.8 ± 29.9 | 29.2 ± 31.8 | 61.4 ± 41.4
Nov 9 | 23.6 ± 29.7 | 50.3 ± 38.1 | 18.3 ± 27.7 | 23.6 ± 29.7 | 50.3 ± 38.1 | 40.0 ± 35.1 | 29.0 ± 31.6 | 29.0 ± 31.6
Nov 22 | 42.9 ± 37.7 | 83.6 ± 48.8 | 25.5 ± 32.1 | 31.4 ± 34.2 | 42.9 ± 37.7 | 8.1 ± 25.0 | 66.2 ± 44.4 | 54.8 ± 41.4
Dec 7 | 37.4 ± 32.8 | 17.1 ± 25.9 | 42.2 ± 34.3 | 27.2 ± 29.6 | 32.1 ± 31.2 | (m) | 42.2 ± 34.4 | 42.2 ± 34.3
Dec 9 | (m) | (m) | (m) | (m) | (m) | 10.6 ± 21.1 | (m) | (m)
Dec 21 | 50.7 ± 38.5 | 82.9 ± 46.6 | 40.0 ± 35.2 | 34.6 ± 33.6 | 45.5 ± 36.9 | 40.3 ± 39.2 | 29.1 ± 31.7 | 50.7 ± 38.1
Detection frequency | 11 of 26 | 10 of 25 | 6 of 26 | 7 of 26 | 7 of 26 | 10 of 26 | 9 of 26 | 11 of 20
Median | 29.0 | 31.9 | 21.0 | 25.5 | 24.2 | 21.1 | 26.4 | 35.6
Interquartile Range | 32.0 | 29.5 | 21.5 | 17.6 | 21.0 | 30.6 | 27.9 | 44.8
Maximum | 83.2 | 83.6 | 86.2 | 115 | 56.2 | 67.0 | 66.2 | 82.9
A.2.11(b) Bi-weekly gross beta concentrations (µBq/m3) from air particulate samples from Site 300 onsite and offsite locations, 2022 (e) (n)
Date | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta | Gross beta
| TNK5 | PSTL | ECP | EOBS | GOLF | NPS | WCP | WOBS
Jan 5 | 94.4 ± 60.3 | 190.0 ± 70.7 | 118.0 ± 62.9 | 102.0 ± 60.7 | 253.0 ± 76.6 | 65.9 ± 57.4 | 50.7 ± 54.8 | (k)
Jan 19 | 544.0 ± 99.9 | (k) | 403.0 ± 89.5 | 414.0 ± 90.6 | 470.0 ± 94.4 | 459.0 ± 92.9 | 500.0 ± 96.9 | (k)
Feb 2 | 688 ± 110 | 688 ± 110 | 744 ± 115 | 607 ± 104 | 688 ± 110 | 736 ± 113 | 722 ± 112 | (k)
Feb 16 | 714 ± 111 | 673 ± 109 | 540.0 ± 99.5 | 644 ± 107 | 500.0 ± 96.9 | 374.0 ± 87.3 | 636 ± 107 | 751 ± 123
Mar 2 | 347.0 ± 85.1 | 485.0 ± 95.8 | 327.0 ± 83.2 | 403.0 ± 89.5 | 315.0 ± 82.1 | 426.0 ± 91.0 | 363.0 ± 86.2 | (k)
Mar 16 | 299.0 ± 80.7 | 323.0 ± 82.9 | 198.0 ± 71.4 | 316.0 ± 82.5 | 292.0 ± 79.9 | 204.0 ± 72.1 | 315.0 ± 82.5 | (k)
Mar 30 | 253.0 ± 76.6 | 259.0 ± 81.8 | 208.0 ± 72.1 | 273.0 ± 78.4 | 150.0 ± 66.6 | 246.0 ± 75.8 | 194.0 ± 71.0 | (k)
Apr 13 | 280.0 ± 79.2 | 388.0 ± 88.4 | 309.0 ± 81.4 | 286.0 ± 79.6 | 322.0 ± 82.5 | (m) | 260.0 ± 77.3 | 287.0 ± 79.6
Apr 14 | (m) | (m) | (m) | (m) | (m) | 282.0 ± 75.8 | (m) | (m)
Apr 27 | 167.0 ± 68.4 | 180 ± 107 | 147.0 ± 66.2 | 123.0 ± 63.6 | 146.0 ± 66.2 | 208.0 ± 76.2 | 202.0 ± 71.8 | 316.0 ± 82.5
May 10 | (m) | (m) | (m) | (m) | (m) | 260.0 ± 89.5 | (m) | (m)
May 11 | 100.0 ± 67.7 | 132.0 ± 64.8 | 182.0 ± 76.6 | 89.5 ± 66.2 | 139.0 ± 65.1 | (m) | 187.0 ± 77.0 | 149.0 ± 67.3
May 25 | 317.0 ± 82.5 | 307.0 ± 85.1 | 272.0 ± 78.8 | 212.0 ± 73.3 | 214.0 ± 72.9 | 308.0 ± 78.1 | 257.0 ± 77.0 | 370.0 ± 87.0
Jun 8 | 245.0 ± 75.8 | (m) | 256.0 ± 77.0 | 229.0 ± 74.4 | 121.0 ± 63.3 | 192.0 ± 70.7 | 145.0 ± 66.2 | 188.0 ± 70.3
Jun 9 | (m) | 249.0 ± 79.6 | (m) | (m) | (m) | (m) | (m) | (m)
Jun 22 | 245.0 ± 75.8 | 290.0 ± 84.7 | 165.0 ± 68.4 | 116.0 ± 62.5 | 185.0 ± 70.3 | 187.0 ± 70.7 | 186.0 ± 70.3 | (m)
Jun 27 | (m) | (m) | (m) | (m) | (m) | (m) | (m) | 260.0 ± 62.5
Jul 6 | 312.0 ± 81.8 | 290.0 ± 80.3 | 229.0 ± 74.4 | 234.0 ± 75.1 | 226.0 ± 74.4 | 269.0 ± 78.4 | 314.0 ± 82.1 | 134.0 ± 94.0
Jul 20 | 309.0 ± 80.3 | 238.0 ± 74.0 | 324.0 ± 81.8 | 256.0 ± 75.5 | 231.0 ± 73.3 | 261.0 ± 75.8 | 318.0 ± 81.0 | 250.0 ± 75.1
Aug 3 | 485.0 ± 94.7 | 292.0 ± 78.8 | 335.0 ± 82.5 | 361.0 ± 84.7 | 260.0 ± 75.8 | 474.0 ± 93.6 | 488.0 ± 95.1 | (m)
Aug 8 | (m) | (m) | (m) | (m) | (m) | (m) | (m) | 392.0 ± 72.9
Aug 17 | 507.0 ± 96.2 | 377.0 ± 86.2 | 343.0 ± 83.2 | 407.0 ± 88.4 | 355.0 ± 84.4 | 350.0 ± 84.4 | 353.0 ± 84.4 | 361 ± 114
Aug 31 | 529.0 ± 98.0 | 392.0 ± 87.7 | 330.0 ± 82.1 | 462.0 ± 92.9 | 414.0 ± 89.2 | 455.0 ± 92.5 | 396.0 ± 87.7 | 418.0 ± 89.5
Sep 14 | 899 ± 122 | 699 ± 111 | 574 ± 101 | 618 ± 104 | 633 ± 105 | 610 ± 104 | 599 ± 103 | 659 ± 107
Sep 28 | 361.0 ± 84.7 | 448.0 ± 91.8 | 321.0 ± 81.4 | 303.0 ± 79.9 | 327.0 ± 82.1 | 312.0 ± 80.7 | 433.0 ± 90.3 | 344.0 ± 83.2
Oct 12 | 829 ± 118 | 821 ± 117 | 840 ± 118 | 799 ± 116 | 640 ± 106 | 792 ± 115 | 844 ± 119 | 818 ± 117
Oct 26 | 696 ± 110 | 636 ± 106 | 640 ± 106 | 736 ± 112 | 666 ± 108 | 636 ± 105 | 888 ± 121 | 710 ± 111
Nov 9 | 238.0 ± 73.6 | 356.0 ± 84.4 | 256.0 ± 75.5 | 323.0 ± 81.4 | 344.0 ± 83.2 | 290.0 ± 78.4 | 330.0 ± 82.1 | 270.0 ± 76.6
Nov 22 | 770 ± 119 | 758 ± 118 | 585 ± 107 | 836 ± 123 | 781 ± 120 | 758 ± 118 | 825 ± 122 | 892 ± 127
Dec 7 | 536.0 ± 94.4 | 677 ± 104 | 588.0 ± 98.0 | 633 ± 101 | 610.0 ± 99.5 | (m) | 670 ± 104 | 588.0 ± 98.0
Dec 9 | (m) | (m) | (m) | (m) | (m) | 588.0 ± 91.0 | (m) | (m)
Dec 21 | 622 ± 104 | 562 ± 100 | 662 ± 107 | 622 ± 105 | 792 ± 115 | 685 ± 119 | 796 ± 116 | 544.0 ± 98.8
Detection frequency | 26 of 26 | 25 of 25 | 26 of 26 | 26 of 26 | 26 of 26 | 26 of 26 | 25 of 26 | 20 of 20
Median | 354 | 377 | 326 | 342 | 324 | 331 | 358 | 366
Interquartile Range | 343 | 346 | 330 | 376 | 355 | 299 | 369 | 338
Maximum | 899 | 821 | 840 | 836 | 792 | 792 | 888 | 892
See the first tab for a description of standard footnotes

## A.2.12 Liv Val Upwind I-131
A.2.12 Iodine-131 concentrations (uBq/m3) in air TEDA samples from the Livermore Valley, 2022 (e) (n) (t)
Date | Iodine 131
FCC
Jan 6 | <1370
Jan 13 | <770
Jan 20 | <533
Jan 27 | <240
Feb 3 | <570
Feb 10 | <481
Feb 24 | <96.9
Mar 3 | <433
Mar 10 | <202
Mar 17 | <202
Mar 23 | <228
Mar 31 | <256
Apr 7 | <411
Apr 13 | <422
Apr 21 | <209
Apr 28 | <176
May 5 | <289
May 12 | <200
May 18 | <429
May 26 | <262
Jun 2 | <279
Jun 16 | <1190
Jun 23 | <1950
Jun 30 | <1270
Jul 7 | <640
Jul 14 | <536
Jul 21 | <233
Jul 28 | <980
Aug 4 | <777
Aug 11 | <350
Aug 17 | <1470
Sep 1 | <1260
Sep 8 | <3200
Sep 15 | <1340
Sep 22 | <1260
Detection frequency | 0 of 35
Median | (x)
Interquartile Range | (x)
Maximum | <3200
Median Percent of DCS | <0.00052
Derived Concentration Standard | 84000000
Maximum Percent of DCS | <0.0038
See the first tab for a description of standard footnotes

## A.2.13 All gammas of interest
A.2.13 Air filter particulates by gamma spectroscopy (mBq/m3) for the Livermore Site and Site 300, 2022 (e) (n) (t)
Location | Month | Be-7 | Cs-137 | K-40 | Na-22 | Pb-210 | Ra-226 | Ra-228 | Th-228
LLNL Composite | Jan | 2.090 ± 0.173 | <0.00718 | <0.0832 | <0.00836 | 0.426 | <0.102 | <0.0276 | <0.00659
| Feb | 1.960 ± 0.146 | <0.00618 | <0.0725 | <0.00773 | 0.3180 | <0.0807 | <0.0238 | <0.0064
| Mar | 2.360 ± 0.173 | <0.00788 | <0.0992 | <0.00918 | 0.1640 | 0.01230 ± 0.00699 | <0.028 | <0.0074
| Apr | 1.870 ± 0.144 | <0.00581 | <0.0758 | <0.00803 | 0.1420 | <0.0107 | <0.0247 | <0.00618
| May | 1.4100 ± 0.0969 | <0.00437 | <0.0548 | <0.005 | 0.1100 | <0.00459 | <0.0171 | <0.00414
| Jun | 1.470 ± 0.112 | <0.00433 | <0.0548 | <0.00529 | 0.1010 | <0.00718 | <0.0167 | <0.00385
| Jul | 1.280 ± 0.126 | <0.00792 | <0.0995 | <0.00966 | 0.1010 | <0.0159 | <0.034 | <0.00851
| Aug | 3.480 ± 0.252 | <0.00699 | <0.0881 | <0.00829 | 0.455 | <0.0132 | <0.0277 | <0.00744
| Sep | 2.220 ± 0.168 | <0.00677 | <0.0906 | <0.00766 | 0.2600 | 0.01340 ± 0.00433 | <0.0287 | <0.00696
| Oct | 1.650 ± 0.133 | <0.00622 | <0.0666 | <0.00762 | 0.392 | <0.00666 | <0.0245 | <0.0061
| Nov | 1.570 ± 0.115 | <0.00414 | <0.0529 | <0.00459 | 0.3390 | <0.00762 | <0.0152 | <0.00425
| Dec | 1.0200 ± 0.0992 | <0.00659 | <0.0851 | <0.0081 | 0.448 | 0.01120 ± 0.00403 | <0.0266 | <0.00648
Site 300 Composite | Jan | 2.090 ± 0.162 | <0.00644 | <0.0844 | <0.00807 | 0.385 | <0.081 | <0.0258 | <0.00699
| Feb | 2.400 ± 0.175 | <0.00607 | <0.084 | <0.00744 | 0.385 | <0.0951 | <0.0266 | <0.00622
| Mar | 2.340 ± 0.166 | <0.00596 | <0.0784 | <0.00784 | 0.1780 | <0.00921 | <0.0241 | <0.00596
| Apr | 2.430 ± 0.170 | <0.00522 | <0.0603 | <0.00614 | 0.1760 | <0.0094 | <0.0199 | <0.00485
| May | 2.380 ± 0.165 | <0.00555 | <0.0684 | <0.00699 | 0.1190 | <0.0101 | <0.0221 | <0.00503
| Jun | 2.460 ± 0.186 | <0.00462 | <0.0599 | <0.0054 | 0.2440 | <0.00903 | <0.0186 | <0.0047
| Jul | 3.370 ± 0.229 | <0.00577 | <0.0707 | <0.00703 | 0.1950 | <0.00625 | <0.0215 | <0.00585
| Aug | 3.570 ± 0.245 | <0.00544 | <0.0699 | <0.0071 | 0.3040 | <0.00988 | <0.0224 | <0.00514
| Sep | 3.310 ± 0.250 | <0.00744 | <0.084 | <0.00862 | 0.540 | 0.01050 ± 0.00462 | <0.0288 | <0.00725
| Oct | 2.480 ± 0.199 | <0.00766 | <0.0892 | <0.00818 | 0.803 | <0.00999 | <0.0279 | <0.00744
| Nov | 2.330 ± 0.159 | <0.00362 | <0.0529 | <0.00437 | 0.455 | <0.0074 | <0.0155 | <0.00356
| Dec | 1.260 ± 0.146 | <0.0119 | <0.156 | <0.0139 | 0.444 | <0.0219 | <0.0451 | <0.012
See the first tab for a description of standard footnotes